## (index)1-2
INDEX
| NIT No: | 5 | 175/NIT/ BSNL ED / SHG/ 2023-2024/12 |  |  | Date :- | 1.05.2023
| SL NO | DESCRIPTION |  |  |  | PAGE NO
| 1 | Index |  |  |  | 1
| 2 | General Guidelines |  |  |  | 2
…. | 3 | Special Conditions of Contract
| 4 | BSNL EW - 6 (Notice Inviting Tender) |  |  |  | 3-6
| 5 | Declaration (Annexure-A) |  |  |  | 7
| 6 | Various Undertaking |  |  |  | 8
| 7 | BSNL EW - 8 |  |  |  | 9-10
| 8 | Proforma of Schedule |  |  |  | 11
| 9 | Model Form of Bid security form 16 |  |  |  | 12
| 10 | Performance security guarantee bond |  |  |  | 13
| 11 | Important notes for Contractor |  |  |  | 14-17
| 12 | List of approved Make |  |  |  | 18-19
| 13 | Specifications for Work |  |  |  | 20
| 14 | Schedule ‘A’ (Schedule Of Work) |  |  |  | 21-22
| 15 | BSNL-EW-8 (Available in website) |  |  |  | 23-104
|  | Total = |  |  |  | 104
|  | This N.I.T. contains |  | 104 | pages only.
| Name of work: |  | Repairing &servicing of split AC with allied works at NE I IB PanBazar Guwahati.
Date of Application :
Issued to :
Date of issue :
Cost of tender paper :
EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION,
SHILLONG
GENERAL GUIDELINES
| 1. | BSNL EW-6, Form BSNL EW 8, Schedules A to F, special conditions/ specifications and drawings will be issued to intending tenderers only. The Standard Form will not be issued along with the Tender Documents but the same shall form part of the agreement to be drawn and signed by the both parties after acceptance of tender. The standard Forms shall be available in downloadable manner from website http://www.assam.bsnl.co.in
| 2. | All blanks are confined to Notice Inviting Tender (BSNL W-6) and Schedules A to F.
| 3. | Authority approving the Notice Inviting Tenders (NIT) shall fill up all the blanks in BSNL EW-6, and in Schedules B to F before issue of Tender Papers.
| 4. | The intending tenderers will quote their rates in Schedule A
| 5. | The proforma for registers and Schedules A to F are only for information and guidance. These are not to be filled in the Standard Form. The Schedules with all blanks, duly filled, shall be separately issued to all intending tenderers for filling and returning the same in the manner prescribed. The Schedules can also be downloaded from website http://www.assam.bsnl.co.in
SPECIAL CONDITIONS OF CONTRACT
| 1. | Tender with conditions i/c conditional rebates shall be summarily rejected.
| 2. | Tenderer is required to work in accordance with agreement with the specifications attached. Where specific specifications are not mentioned, IS – specification, IE rules, CPWD external and internal specifications etc. shall be followed.
| 3. | Tenderer have to agree on testing prescribed by the Engineer – in – charge.
| 4. | Layout diagram shall be approved by the Engineer – in – charge before execution of work.
| 5. | The Bid documents consisting of the detailed plans, complete specifications, the schedule of quantities of the various classes of works to be done and the set of conditions of contract to be complied with and other necessary documents , can be seen and downloaded from website www.ne1.bsnl.co.in
| 6. | General conditions of contract for works in BHARAT SANCHAR NIGAM LIMITED (BSNL EW-8) are available on BSNL website http://electrical.bsnl.co.in/BSNL_EW-8.pdf as well as in the Division Office.

## (NIT18-19) 3-6
|  | BSNL EW |  |  |  | 6
Bharat Sanchar Nigam Limited
( A Government of India Enterprise )
Electrical Wing
| Electrical Division: |  | SHILLONG |  |  |  | Sub Division: |  | SHILLONG
Certified that this tender schedule Contains …………….pages only.
| NIT No.: | 5 | 175/NIT/ BSNL ED / SHG/ 2023-2024/12 |  |  |  |  | Date :- | 1.05.2023
SHORT Notice Inviting Tenders
( As per Tendering Procedure in BSNL revised upto date)
1. Tenders in the prescribed form are hereby invited on behalf of the BSNL for the work as given below :
|  | Name of work | [5 empty] | Estimated Cost | EMD | Time allowed
[8 empty] | 64042 | 1281 | 7Days
Repairing &servicing of split AC with allied works at NE I IB PanBazar Guwahati.
Repairing, /servicing of 1x40 KVA DEA set at at TE Mawkyrwat Meghalaya.
2. (a). Printed forms of tenders consisting of the detailed plans, complete specifications, the schedule of quantities of the various classes of works to be done and the set of conditions of contract to be complied with by the persons whose tender may be accepted, can be purchased, at the Divisional office between the hours of 1100 hrs and 1600
| hrs. every day except on Sundays and public Holidays on payment of | [6 empty] | Rs. 177.00 i/c GST
| (b). The site for the work is available/ or the site for the works shall be made available in parts. | [9 empty] | SHILLONG
| (c ). The tender forms can also be downloaded from the website: www.ne1.bsnl.co.in | [9 empty] | SHILLONG
KAMRUP
| (d). Before tendering, the contractor shall inspect the site and fully acquaint himself about the condition with regard to accessibility of site and site nature and the extend of grounds, working condition, including stocking of materials, installation of T&P etc., and conditions affecting accommodation and movement of labour etc., required for the satisfactory execution of the contract. No claim whatsoever on such account shall be entertained by the BSNL in any circumstances. | [9 empty] | GUWAHATI
JORHAT
SHILLONG
AIZAWL
AGARTALA
SILCHAR
| 3. Tenders which should always be placed in sealed covers with the name of the work written on the envelope will be received by the | [9 empty] | TEZPUR
| EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, | [5 empty] | SHILLONG |  |  |  | DIBRUGARH
| upto 1500 hours on |  | 11.05.2023 | and will be opened by him in his office on the same day at 1530 hours. | [6 empty] | MEGHALAYA
EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION,
| 4. The time allowed for carrying out the work will be |  |  |  | 7Days | [5 empty] | SUB-DIVISIONAL ENGINEER(E), BSNL, ELECTRICAL SUB-DIVISION II,
SUB-DIVISIONAL ENGINEER(E), BSNL, ELECTRICAL SUB-DIVISION I,
| 5. Issue of tender form will be stopped on |  |  |  | 9.05.2023 | two days before the date |  |  |  | 11.05.2023 | SUB-DIVISIONAL ENGINEER(E), BSNL, ELECTRICAL SUB-DIVISION
for opening of tenders. Tenders will be sold on working days; no tenders will be sold after 1600 hours.
6. a) Earnest Money amounting to Rupees As mentioned abovein the form of demand draft/ FDR/ BG/ CDR of a nationalized/scheduled
| bank guaranteed by the Reserve Bank of India, drawn in favour of |  |  |  |  | ACCOUNTS OFFICER(CASH), O/O THE GMTD,
| MEGHALAYA | SSA, BSNL, |  | must accompany each tender and each tender should be in two sealed covers, 1st cover
containing the EMD in proper form and 2nd cover containing tender, superscribed as “ Tender for the work of As mentioned above and
| addressed to | EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, |  |  |  |  | SHILLONG | The Validity period of EMD
is 120 days, from the date of opening of tender. In case of e-tendering, each tender should be in two sealed coves,first containing credentials for meeting the Eligibility conditions along with the cost of tenders and EMD in proper form, and second cover containing tender documents. The credentials shall be self attested and certified by any BSNL Executive. If not certified by BSNL Executive then original documents shall be produced at the time of tender opening. After verification of the contents of this envelope then second envelope containing the bid document shall be opened.
…………………………………
b) The EMD of all the unsuccessful tenderers shall be released on issue of award letter to the successful tenderer. This shall be done within one week of award letter.
c) Exemption from payment of earnest money and security deposit by any other unit/ department shall not hold good for BSNL.
7. IMPORTANT INSTRUCTIONS TO BIDDERS DOWN LOADING THE TENDER DOCUMENT FROM WEB SITE :
The bidders, who have down loaded the tenders from the web site, shall read the following important instructions carefully before quoting the rates and submitting the tender documents.
(i) The tenderer should see carefully and ensure that the tender document containing all the pages as per the index has been down loaded for making required entries. The balance pages of Standard BSNL EW-8 form will be attached with the agreement after the award of work.
(ii) A clear print out of tender document shall be taken on good quality A4 size paper and the printer settings, etc., shall be such that the document is printed as appearing in the web and without any change in format, number of pages, etc., and shall also ensure that no page is missing. Only original computer printout of the document shall be used. Photocopy shall not be accepted.
(iii) In case of any doubt in the downloaded tender, the same shall be got clarified from the Engineer -in -charge calling the NIT before submission.
|  | BSNL EW |  |  |  | 6
(iv) The name of the bidder shall be filled on the relevant pages of tender document and all the pages shall be invariably signed. (With stamp).
(v) The tenderer shall ensure that the downloaded tender document is properly stitched before submitting the document.
(vi) There shall be no correction / addition / alteration / omission made in the text of the downloaded tender document. If found otherwise, the same shall be treated as non-responsive and rejected.
(vii) The bidders downloading the tender document are required to submit the Tender fee ( along with applicable GST) amount through DD/ Banker’s cheque along with their tender bid failing which the tender bid shall be left archived unopened/ rejected.
(viii) The tenderer shall furnish a Declaration (appended as Annexure-II) to this effect (in case of downloaded tender) that no addition / deletion/correction have been made in the tender document submitted and is identical to the tender document appearing on website .Every page of downloaded tender shall be signed by the tenderer with stamp (seal ) of his firm /organization.
8. (a) Submission of Tender : The tenderer shall submit the tender in two numbers of separate sealed Covers, marked as Cover - I containing the receipt for cost of tender paper and EMD in proper form (in case of issued tender) & Cover-II containing tender documents. Both the Envelopes should be super scribed as “Tender for the work “_________________________________________________________________ .”(Name of Work) If Cover-I is not annexed or the documents submitted in the Cover-I are found incomplete or not in proper form against requirements as given above herein, then Cover-II containing price bid will not be opened at all and shall be returned to the tenderer on the spot, if the tenderer is present at the time of tender opening.
8 (b) The cover-1 in case of DOWNLOADED TENDER shall contain:
(i) The Self attested copy of Valid Pan Card.
(ii) The Self attested copy of Valid GST Registration Certificate.
(iii) The Self attested copy of Valid Enlistment certificate issued by BSNL, if applicable.
(iv) The Self attested copy of Valid Electrical License issued by Govt of Meghalaya/ Assam, whichever is applicable.
(v) Tender Fee in proper format.
(vi) EMD in the prscribed format.
(vii) The Self attested copy of Valid EPF & ESI Registration certificate, if applicale.
(viii) Certificate of work experience issued by Officer not below the rank of Executive Engineer (E).
(ix) Documents fulfilling Eligibility criteria (Please note that in case the bidder is authorized by the manufacturer, the original authorization letter is to be scanned and uploaded).
(x) Turn over certificate issued by Chartered Accountant.
(xi) A self-declaration along with the evidence that the bidder is not black listed by GST authorities.
8 (c) ” If Cover-I IN CASE OF DOWNLOADED TENDER is not annexed or the documents submitted in the Cover-I are found incomplete or not in proper form against requirements as given above herein, then Cover-II containing price bid will not be opened at all and shall be returned to the tenderer on the spot, if the tenderer is present at the time of tender opening.
9. i) Performance Guarantee: The contractor is required to furnish performance guarantee for an amount equal to 5% of the contract value in the form of bank guarantee / CDR/FDR/DD (of a nationalized / Scheduled Bank in a standard format) within two weeks from the date of issue of award letter. This period can be further extended by the Engineer-in-charge upto a maximum period of 2 weeks on written request of Contractor. The validity period of the performance security in the form of performance bank guarantee shall be one year from the date of actual completion of work.
ii) Security deposit: In addition to performance guarantee stated above, a sum @ 10% of the gross amount of the bill shall be deducted from each running bill of the contractor till the sum be deducted with the sum already deposited as earnest money, will amount to security deposit of 5% of the Tendered value of the work.
10. The acceptance of a tender will rest with the competent authority, BSNL, who does not bind himself to accept the lowest tender or any other tender and reserves to himself the Authority to reject lowest or all the tenders received without assigning any reason. All tenders in which any of the prescribed conditions are not fulfilled or incomplete in any respect are liable to be rejected. Tenders with any condition including that of conditional rebates shall be rejected forthwith summarily.
11. Canvassing in connection with tender is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection.
12. The BSNL reserves itself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rates quoted.
13. i) The tenderer should give a certificate that none of his/her relative is employed in BSNL units. In case of proprietorship firm, certificate will be given by the proprietor and for partnership firm certificate will be given by all the Directors of the company.
ii) Near relatives of all BSNL employees either directly recruited or on deputation are prohibited from participation in tenders and execution of works in the different units of BSNL. The near relatives for this purpose are defined as:
|  | a) | Members of a Hindu Undivided family.
|  | b) | They are husband and wife.
|  | c) | The one is related to the other in the manner as father, mother, son(s) & son's wife (daughter-in-law), Daughter(s) & daughter's husband(son-in-law), brother(s) & brother's wife, sister(s) & sister's husband(brother -in-law).
|  | BSNL EW |  |  |  | 6
The format of the certificate to be given is—
"I ……………………………………….Son of Sh …………… ……………………… Resident of …………hereby certify that none of my relative(s) as defined in the tender document is/ are employed in BSNL unit as per details given in tender document. In case at any tage, it is found that the information given by me is false / incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me".
For EI & OTHER MISC WORKS: The following eligibility criteria shall be adopted for the works like EI & Fans, Compound Lighting, Lightning Conductor, Pumps, Cabling, installation of Splits/ WACs, LT Panels, shifting of DG sets, I.T.C. of AVR upto 5KVA(relay type), other miscellaneous petty works and any other work authorized by PCEs/Sr.CEs/CEs(Elect.). 1. BSNL Electrical Contractors in Electrical Category of respective Class as per their tendering limits.
FOR SUBSTATION WORKS: The Contractors satisfying the following conditions: Average annual turnover during the last 3 years, ending 31st March of the previous financial year, should be at least 30% of the estimated cost put to tender. AND BSNL enlisted contractors in Electrical category of respective class as per their tendering limits. OR Experience of having successfully completed similar works in Central Government /State Government /Central Autonomous Body/Central Public Sector Undertaking during last 7 years ending last day of the month previous to the one in which applications are invited should be either of the following :- a) Three similar successfully completed works costing not less than the amount equal to 40% of the estimated cost put to tender with transformer capacity not less than 80% of individual capacity of the Transformer proposed in the NIT. OR b)Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender with transformer capacity not less than 80% of individual capacity of the Transformer proposed in the NIT. OR c)One similar successfully completed work costing not less than the amount equal to 80% of the estimated cost put to tender with transformer capacity not less than 80% of individual capacity of the Transformer proposed in the NIT.
|  | (Seal of the firm) | [5 empty] | (Signature of Contractor) |  |  | COMPREHENSIVE MAINTENANCE/AMC/REPAIRS OF SPECIALISED SERVICES: The Contractors satisfying the following conditions: Average annual turnover during the last 3 years, ending 31st March of the previous financial year, should be at least 30% of the estimated cost put to tender. AND The manufacturer or their authorized service dealer. The letter of authorization in original from the manufacturer will be produced by the dealer. OR Experience of having successfully completed similar works in BSNL during last 7 years ending last day of month previous to the one in which applications are invited , should be either of the following: a) Three similar successfully completed works costing not less than the amount equal to 40% of the estimated cost put to tender. OR (b) Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender. OR (c) One similar successfully completed work costing not less than the amount equal to 80% of the estimated cost put to tender. OR BSNL Electrical Contractors in Electrical Category of respective Class as per their tendering limits NOTE: 1) The estimated cost of one year shall be considered to evaluate the eligibility criteria. 2) The Contractor shall produce authorization certificate in original from any of major equipment manufacturers for supply of the spare parts, technical support during the currency of the contract.
| 14. No employee in BSNL/ Govt. of India is allowed to work as a contractor for a period of two years of his retirement from service without the prior permission. The contract is liable to be cancelled if either the contractor or any of his employees is found at any time to be such a person who had not obtained the permission as aforesaid before submission of tender and engagement in the contractors’ service. | [9 empty] | DG SETS:- The Contractors satisfying the following conditions: Average annual turnover during the last 3 years, ending 31st March of the previous financial year, should be at least 30% of the estimated cost put to tender. AND BSNL enlisted contractors in Electrical category of respective class as per their tendering limits. OR BSNL CO (Electrical) approved Engine manufacturer with the approved capacity of engine not less than the DG set capacity proposed in the NIT. OR OEM authorized by BSNL CO (Electrical) approved Engine manufacturer with the approved capacity of engine not less than the DG set capacity proposed in the NIT. The letter of Authorization in Original from the Engine manufacturer will have to be produced by the OEMs. OR Experience of having successfully completed similar works in Central Government /State Government /Central Autonomous Body/Central Public sector Undertaking during last 7 years ending last day of month previous to the one in which applications are invited should be either of the following :- a) Three similar successfully completed works costing not less than the amount equal to 40% of the estimated cost put to tender with DG set capacity not less than 80% of individual capacity of the DG set proposed in the NIT. OR b)Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender with DG set capacity not less than 80% of individual capacity of the DG set proposed in the NIT. OR c)One similar successfully completed work costing not less than the amount equal to 80% of the estimated cost put to tender with DG set capacity not less than 80% of individual capacity of the DG set proposed in the NIT.
HVAC AND PACKAGE (HIGH SENSIBLE/PRECISION)AC UNITS : The Contractors satisfying the following conditions: Average annual turnover during the last 3 years, ending 31st March of the previous financial year, should be at least 30% of the estimated cost put to tender. AND BSNL CO (Electrical) approved Package AC Manufacturer. OR The dealer authorized by BSNL CO (Electrical) approved Package AC Manufacturers. The letter of Authorization in Original from the manufacturer will have to be produced by the dealers. OR Experience of having successfully completed similar works in Central Government/State Government /Central Autonomous Body/Central Public sector Undertaking during last 7 years ending last day of month previous to the one in which applications are invited should be either of the following :- (a) Three similar successfully completed works costing not less than the amount equal to 40% of the estimated cost put to tender with Central/Package AC Plant with equipment Module not less than 80% of individual capacity of the Central/Package AC Plant proposed in the NIT. OR (b) Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender with Central/Package AC Plant with equipment Module not less than 80% of individual capacity of the Central/Package AC Plant proposed in the NIT. OR (c) One similar successfully completed work costing not less than the amount equal to 80% of the estimated cost put to tender with Central/Package AC Plant with equipment Module not less than 80% of individual capacity of the Central/Package AC Plantproposed in the NIT.
AUTOMATIC FIRE DETECTION /ALARM/SUPRESSION/FIRE FIGHTING SYSTEMS : The Contractors satisfying the following conditions: Average annual turnover during the last 3 years, ending 31st March of the previous financial year, should be at least 30% of the estimated cost put to tender. AND Experience of having successfully completed similar works in Central Government /State Government /Central Autonomous Body/Central Public sector Undertaking during last 7 years ending last day of month previous to the one in which applications are invited ,should be either of the following : a)Three similar successfully completed works costing not less than the amount equal to 40% of the estimated cost put to tender. OR b)Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender. OR c)One similar successfully completed work costing not less than the amount equal to 80% of the estimated cost put to tender.
LIFTS: The Contractors satisfying the following conditions: The lift manufacturer of the makes proposed in the NIT. OR The dealer authorized by lift manufacturer of the makes proposed in the NIT. The letter of authorization in original from the lift manufacturer will be produced by the dealer.
COMPREHENSIVE MAINTENANCE AND OPERATION OF EMS: The Contractors satisfying the following conditions: Average annual turnover during the last 3 years, ending 31st March of the previous financial year, should be at least 30% of the estimated cost put to tender. AND BSNL enlisted contractors in Electrical category of respective class as per their tendering limits. OR Experience of having successfully completed similar works in BSNL comprising of either substation or airconditioning service as part of scope of work during last 7 years ending last day of month previous to the one in which applications are invited, should be either of the following : a)Three similar successfully completed works costing not less than the amount equal to 40% of the estimated cost put to tender. OR b)Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender. OR c) One similar successfully completed work costing not less than the amount equal to 80% of the estimated cost put to tender.
| 15. The tender for the works shall not be witnessed by the contractor who himself/themselves has/ have tendered or who may and has/have tender for the same work. Failure to observe this condition would render tenders of the contractors tendering as witnessing the tender is/are liable for summarily rejection. | [9 empty] | UPS: Average annual turnoverduring last 3 years, ending31st March of the previous financial year, should be at least 30% of the estimated cost put to tender. AND BSNL Enlisted Contractors in Electrical Category of respective class as per their tendering limits. OR Original equipment manufacturers of UPS for the makes specified in this tender or their authorised dealers. Authorization letter specific to the concerned tender including authorisation for after sales service on printed letter head of the company in this regard will have to be produced by the tenderer. OR Experience of having successfully completed works like SITC of UPS in central Government/ State Government / Central Autonomous body/ Central public sector undertaking during last 7 years ending last day of the month previous to the one in which application are invited, should be either of the following: A) Three similar sucessfully completed works, costing not less than the amount equal to 40% of the estimated cost put to tender. OR B) Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender. OR C) One similar successfully completed works, costing not less than the amount equal to 80% of the estimated cost put to tender.
16. It will be obligatory on the part of the tenderer to sign each page of the Schedule of work and the tender documents for all the component parts and after the work is awarded he will have to enter into a separate agreement for each component with the officer concerned.
17. Any tender not submitted in proper manner or if it contains too many corrections, over writings of absurd rates, and absurd amount will be liable to be rejected and the BSNL will be at liberty to take such action as it may deem fit without any reference to the tenderer.
18. The tenders for the work shall remain open for acceptance for a period of 90 days from the date of opening of the tenders. If any tenderer withdraws his tender before the said period or makes any modification in the terms and conditions of the tender which is not acceptable to the BSNL shall, without prejudice to any other right of remedy be at liberty to forfeit 50% (fifty percent only) of the said earnest money absolutely.
| 19. Extension of validity: In case, where the letter of award of work cannot be placed within the validity period of the tender, the BSNL can request all tenderers to extend the validity of their respective tenders and the Earnest Money deposit by a reasonable period. In such cases, extension of validity of Earnest Money deposit by 30 days beyond the extended validity date of tender should also be asked for. While BSNL can make the request for extension, the tenderer is free to either extend the validity or refuse the request to extend the validity. | [9 empty] | 1. The agency must possess EPF and ESI registration Certificate.
2. The agency must posses HT license for working on HT lines/Equipment.
20. Unsealed tenders will be summarily rejected.
21. The contractor should read the tender documents carefully before submitting the tender.
22. Agreement shall be drawn with the successful tenderer on prescribed form. Tenderer shall quote his rates as per various terms and conditions of the said form, which will form part of the agreement.
23. The tenderer shall furnish a declaration to this effect (incase downloaded tender) that no addition/deletion/correction have been made in the tender document submitted and is identical to the tender document appearing on website. Every page of downloaded tender shall be signed by the tenderer with stamp (seal) of his firm /organization.
24. This Notice Inviting Tender shall form part of the Contract document. The successful tenderer/contractor on acceptance of his tender by the Accepting authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of :-
a) The Notice Inviting Tender, all the documents including additional conditions, specifications and drawings, if any forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.
b) Standard form
25. Eligibility Conditions:
(1) | For EI & OTHER MISC WORKS: The following eligibility criteria shall be adopted for the works like EI & Fans, Compound Lighting, Lightning Conductor, Pumps, Cabling, installation of Splits/ WACs, LT Panels, shifting of DG sets, I.T.C. of AVR upto 5KVA(relay type), other miscellaneous petty works and any other work authorized by PCEs/Sr.CEs/CEs(Elect.). 1. BSNL Electrical Contractors in Electrical Category of respective Class as per their tendering limits.
`
(2) | In addition to the above ,the bidder should also have the following:
a) The Tenderer should submit valid GST registration Certificate as per GST Law (SGST/CGST/IGST as applicable),CA certificate for turnover, PAN card, EPF Registration certificate (if applicable) and ESI Registration certificate (if applicable)( all documents shall be self-attested.)
b) Demand draft of cost of tender documents in case download tender/Money receipt in case of purchased from office.
c) A self-declaration along with the evidence that the bidder is not black listed by GST authorities.
d) In case of multiple GST numbers, all the numbers can be provided as Annexure
e) EMD in prescribed form.
f) Experience certificate execution of similar nature of works in BSNL/CPSU/Central Govt Dept. in Last 3years
| g) Compliance Statement |  | Annexure - II | h) Schedule D | Annexure - IV |  | i)Declaration by Contractor
| Annexure - B | j) Undertaking EW 6 & EW 8 |  | Annexure - C | k) Non Relative Certificate |  | Annexure - D
| l) Undertaking EPF |  | Annexure - E | m) undertaking ESI |  | Annexure - F | n) Tender submission format.
o) Self-Attested Documentary proof of satisfying the eligibility conditions as per above shall be submitted.
p)The intending tenderer shall furnish the cost of Tender document in the form of Cash in case of sold tender or DD of a Scheduled Bank or Nationalized Bank/ State Bank guaranteed by Reserve Bank of India in case downloaded tender.
| Demand Draft which is non-refundable, for an amounting to |  |  |  | Rs. 177.00 i/c GST |  | (Inclusive of GST), shall be drawn in favour of the
| ACCOUNTS OFFICER(CASH), O/O THE GMTD, |  |  | MEGHALAYA | SSA, BSNL | Earnest money amounting to Rupees. |  |  | 1281
| in the form of | demand draft/FDR/BG /CDR of a nationalized /scheduled bank guaranteed by the Reserve Bank of India, drawn
| in favour of the | ACCOUNTS OFFICER(CASH), O/O THE GMTD, |  |  | MEGHALAYA | SSA, BSNL | must accompany each tender.
The Validity period of EMD is 120 days, from the date of opening of tender.
l) The contractor shall submit the Demand Draft for cost of Bid documents in case downloaded tender / money receipt in case purchased tender document from office, EMD in the prescribed form, and Eligibility documents as mentioned above in a sealed envelope i.e. in COVER-1 with mention of Name of work, date & time of the opening of bids in a sealed bid box provided in the office of the
| EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, |  |  |  |  | SHILLONG | up to 15:00 Hours |  | 11.05.2023
and shall be opened on same day at 15:30 Hours in presence of AO, SDE [E-P] and contractors presence .
EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION,
For and on behalf of BSNL
SHILLONG
| Copy to: | 1. | The SE(E), BSNL Electrical Circle, Shillong
|  | 2-4. | The Executive Engineer(E), BSNL, Electrical Division, Jorhat/Guwahati/Shillong/Dimapur/Agartala.
|  | 5-6. | The Sr. AO, BSNL, Electrical Division, Shillong/The Sr.AO(cash), O/o the GMTD, Meghalaya SSA.
|  | 7-11. | The Sub-Divisional Engineer, BSNL, Electrical Sub-Division, Shillong I/ Shillong II/ Dimapur/ AP/ Imphal
|  | 12. | Notice Board.
EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION,

## DeclarationUndertakiEW8(7-10)
Annexure – A
DECLARATION
(To be given by the tenderers downloading the tender document from the web site)
This is to certify that:
1 | I/We have submitted the tenders in the proforma as downloaded directly from the website which are same as available in the website and there is no change in the format, number of pages etc.
2 | I/We have not made any modification/corrections/additions etc in the tender documents downloaded from web by me/us.
3 | I/We have checked that no page is missing and all pages as per the index are available & that all pages of tender document submitted by us are clear & legible.
4 | I/We have signed (with stamp) all the pages of the tender document before submitting the same.
5 | I/We have stitched and sealed the tender documents properly before submitting the same.
6 | I/ We have submitted the cost of tender along with the EMD in the first cover as prescribed.
7 | I/ We have read carefully & understood the ‘Important note to all tenderers’ & ‘Important Instructions to Tenderers downloading the tender document from web including entire Standard Tender Form BSNL EW-8 displayed in web site.
8 | In case at a later stage, it is noticed that there is any difference in my/our tender documents with the original documents, BSNL shall have the right to cancel the tender/ work, forfeit the Earnest Money/Security Deposit, take appropriate action as per the prevailing rules in force and BSNL shall not be bound to pay any damages to me/ us on this account.
Dated………………… |  |  |  | (Signature of the contractor /
Representative of the Firm with seal)
ANNEXURE - B
Declaration by Contractor
1. I / We do hereby undertake to have gone through the terms & conditions / clauses of all the tender documents including Form EW-6, EW-8 being adopted by the BHARAT SANCHAR NIGAM LIMITED (Electrical Wing) & agree to abide by the same.
2. I/we hereby declare that no addition /deletion/correction have been made in the tender document submitted and is identical to the tender document appearing on website.
In case of failure to comply as above, our offer will stand withdrawn and the decision of tender opening officer in this regard shall be final & binding on me.
Signature of contractor/authorized representative
With seal of the firm
ANNEXURE - C
UNDERTAKING TO ABIDE BY EW-6 & EW-8
"I_____________________________________ Son of________________ ___________________
___________ Resident of _____________________________ _________ hereby give an undertaking that, I have read and I am aware of all
the clauses and sub clauses of BSNL EW-6 & EW-8 forms and I confirm that, I will abide by all the terms and conditions available in original
standard BSNL EW-6 & EW-8 forms.
(Seal of the firm) | [6 empty] | (Dated Signature of Contractor)
ANNEXURE- D
Non Relative Certificate
(The format of the certificate as per clause 12.3 of EW-6)
I ______________________________________________________son of Shri __________________________________________________________
resident of ___________________________________________ hereby certify that none of my relative(s) as defined in the tender document is/are employed in BSNL unit as per details given in tender document. In case at any stage, it is found that the information given by me is false /incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me.
| (Seal of the firm) |  |  |  |  | (Dated Signature of Contractor)
ANNEXURE- E
UNDERTAKING REGARDING EPF PROVISIONS
"I_____________________________________ Son of________________ _
___________ Resident of _____________________________ _________ hereby give an undertaking that,
* I/We have employed only ________ persons in our establishment and hence the EPF and Miscellaneous provision Act, 1952 is not applicable to my /our establishment.
* I/ We have registered as per the EPF and Miscellaneous provisions Act, 1952 ** and our registration no is _________________. We undertake to keep it valid during the currency of contract.
In case at any stage, it is found that the information given by me is false / incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me".
0.z
* Strike out whichever is not applicable.
** Attach a self-attested photo copy of the above said EPF registration certificate.
(Seal of the firm) | [6 empty] | (Dated Signature of Contractor)
ANNEXURE-F
UNDERTAKING REGARDING ESI PROVISIONS
"I __________________________________________ Son of ____________________________________
___________ Resident of _____________________________ _________ hereby give an undertaking that,
* I/We have employed only ___________ persons in our establishment and hence the ESI and Miscellaneous provisions Act’1948 is not applicable to my / our establishment.
* I/We have registered under ESI Act’1948 and ** allotted Registration Number is ______________________We undertake to keep it valid during the currency of contract.
In case it is found that the information given by me / us is (are) incorrect/False, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to us / me.
* Strike out whichever is not applicable.
** Attach a self-attested photocopy of the above said ESI Registration Certificate OR self-attested photocopy of the latest ESI contribution slip along with above undertaking on a printed letter head.
| (Seal of the firm) | [5 empty] | (Dated Signature of Contractor)
| BSNL EW |  |  |  | 8
BHARAT SANCHAR NIGAM LIMITED
(A Government of India Enterprise)
CIRCLE:__NE I_ TELECOM CIRCLE | [6 empty] | DIVISION - | SHILLONG
BRANCH : EW | [6 empty] | SUB-DIVISION- |  | SHILLONG
(A) | Tender for the work of :-
#REF!
| (i) | Issued to (contractor) ____________________________________________
| (ii) | Tender Cost |  |  |  | (iii) Receipt No. _______
| (iv) | Date of application_____________________ |  |  |  | (v) Date of Issue __________
| (vi) | Signature of the Officer issuing the documents _________________________
| (vii) | Designation | EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, | [5 empty] | SHILLONG
(B) | (i) To be submitted by (time) |  |  | 15:00 | hours on (date) |  | 11.05.2023 |  | to
| EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, | [6 empty] | SHILLONG
| (ii) To be opened in presence of tenderers who may be present at | [6 empty] | 15:30 | hours on
| 11.05.2023 |  | in the office of the |  | EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION,
SHILLONG
T E N D E R
1. | I/We have read and examined the notice inviting tender schedule, specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract special conditions, schedule of Rates and other documents and Rules referred to in the contract and all other contents in the tender document for the work.
2. | I/We hereby tender fot the execution for the work specified for BSNL within the same specified schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions and other documents and Rules referred to in the conditions of contract and all other documents for the work.
3. | I/we agree to keep the tender open for nonety (90) days from the date of submission thereof and not to make any modifications in its terms and conditions.
4. | A sum of ` | 1281 | is hereby forwarded in the form of Deposit |  |  |  |  | at D.DRAFT/ CDR
| /FDR/Bank gurantee |  | of a Nationalised/Scheduled Bank as earnest money. If I fail to
commence the work specified I/We agree that the said BSNL shall without prejudice to any other right or remedy be at liberty to forefeit the said earnest money absolutely and the said may be at the option of the competent authority on behalf of the BSNL be recovered without prejudice to any other right or liberty available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me/us under this contract or otherwise.
5. | Should this tender be accepted, I/we agree to execute all the works referred to in the tender documents upon terms and conditions contained or referred to therein and to carryout such deviations as may be ordered upto maximum percentage mentioned in clause 12.3 of the tender form and those in excess of that limit at rates to be determined in accordance with provisions contained in clause 12.2.
6. | I/We agree to furnish to BSNL Deposit at Call receipt/FDR/Bank guarantee of a Nationalised/Scheduled Bank for an amount equal to 5% of the contract value in a standard format within two weeks from the date of issue of award letter. I/We agree to keep the peprformence bank guarantee valid for one year from the date of actual completion of work.
| BSNL EW |  |  |  | 8
7. | I/We hereby declare that I/We shall treat the tender documents drawings and other records connected with the work as secret/confidential documents and shall not communicagte information/derived therefrom to any other person other than to whom I/We am/are authorised to communicate the same or use the information in any manner prejudicial to the safety or interest of BSNL.
Signature of witness
(Required in the case of contractor's thumb impression is given by the contractor in place of signature) (Name & Postal address)
(Signature of contractor)
Seal of Contractor
| Occupation of Witness |  |  |  |  | Date
A C C E P T A N C E
The above tender (as modified by you as provided in the letters mentioned hereunder) is
accepted by me for and on behalf of BSNL for a sum of | [7 empty] | (Rupees
) only.
The letters referred to below shall form part of this contract Agreement.
a)
b)
For & on behalf of BSNL
Signature ____________________
Designation
Dated |  |  |  | EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION,
SHILLONG

## (prof schd)11
PROFORMA OF SCHEDULES
(Operative Schedules to be supplied separately to each of the intending tenderer)
SCHEDULE “A”
Abstract of Cost and Schedule of Work: Appended at page |  |  |  | 21-22
SCHEDULE “B”
Schedule of Materials to be issued to the contractor:
Sl no | Description of item |  | Quantity | Rates in figures & words at which the materials will be charged from the contractor |  |  | Place of issue
3
SCHEDULE ‘C’
Tools and plants to be hired to the contractor:
Sl no | Description of item |  |  | Hires charges per day |  |  | Place of issue
NIL
SCHEDULE ‘D’
Extra schedule for specific requirements/document for the work, if any.
I. Specification: - |  |  |  |  | page | 21-32
I. Model form of Bank Guarantee : Appended at |  |  |  |  | page | 12
II. Model form of Performance Security Guarantee Bond : Appended at |  |  |  |  | page | 13
III. Important Notes for Contractors : Appended at |  |  |  |  | pages | 14 TO 18
SCHEDULE ‘E’
Schedule of Component of materials, Labour etc. for escalation: |  |  |  | Not applicable.
Clause 10CC
SCHEDULE ‘F’
Reference to General Conditions of contract
(i) Name of Work : |  |  | Estimated cost |  | Amount of EMD |  | Time
#REF! |  |  | 64042 |  | 1281 |  | 7Days
(ii) Performance Guarantee : |  |  |  |  | As per Sl. No. 8(i) of the NIT
(iii) Security Deposit : |  |  |  |  | As per Sl. No. 8(ii) of the NIT
GENERAL RULES and DIRECTIONS :
Officer inviting tender : |  | EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, |  |  |  |  | SHILLONG
Definitions :
2 (iv) Engineer-in-Charge |  | EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, |  |  |  |  | SHILLONG
2(v) Accepting Authority |  | EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION, |  |  |  |  | SHILLONG
2(vi) Percentage on cost of materials and labour to cover all overheads and profits. |  |  |  |  | 10%
Clause 5
(i) Authority to give fair and reasonable extension of time for completion of work : |  |  |  |  | (ii) SE (E), BSNL Electrical Circle, Shillong
Clause 12
12.2(iii) Schedule of rates for determining the rates for additional, altered or substituted items that cannot be determined under 12.2 (i) and (ii) |  |  |  |  | Not Applicable for this work.
12.2(iii) Plus / minus the % over the rate entered in the schedule of rates. |  |  |  |  | Not Applicable
Clause 25
Competent authority for conciliation : |  |  |  |  | SE (E), not in-charge of the work.

## (P.Secu & B.Secu)12-13
SCHEDULE “D”
(I) MODEL FORM OF BID SECURITY FORM
(Bank Guarantee)
Whereas________________ (hereinafter called “The Bidder”) has submitted its bid dated____________ for the supply of_______________ vide Tender No------------------ dated………….. KNOW ALL MEN by these presents that WE ____________________________ OF _____________________having our registered office at ___________________ (hereinafter called “the Bank”) are bound unto Bharat Sanchar Nigam Limited. ( Hereinafter called “The Purchaser”) in the sum of Rs______________________ for which payment will and truly to be made of the said Purchaser, the Bank binds itself, its successors and assigns by these present.
THE CONDITIONS of the obligation are:
1. If the Bidder withdraws his bid during the period of bid validity specified by the Bidder on the Bid form or
2. If the Bidder, having been notified of the acceptance of his bid by the Purchaser during the period of bid validity.
(a) fails or refuses to execute the Contract, if required; or
(b) fails or refuses to furnish the Performance Security , in accordance with the Instructions to Bidders.
We undertake to pay to the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand, the Purchaser will note that the amount claimed by it is due to it owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions.
This guarantee will remain in force as specified in the Bid Document up to and including THIRTY (30) days after the period of bid validity, and any demand in respect thereof should reach the Bank not later than the specified date/dates
Signature of the Bank Authority
Name
Signed in Capacity
Name & Signature of witness
Full address of Branch
| Address of witness | Tel No. of Branch
SCHEDULE “D”
(II) MODEL FORM OF PERFORMANCE SECURITY GUARANTEE BOND
In consideration of the CMD, BSNL (hereinafter called ‘BSNL’) having agreed to exempt -------------------------- (hereinafter called ‘the said contractor(s)) from the demand under the terms and conditions of an agreement/Advance Purchase Order No. -------------------------- dated ------------------- made between ---------------- and -------------------------- for the supply----------------------------- (hereinafter called ‘the said agreement’) of security deposit for the due fulfillment by the said contractor(s) of the terms and conditions contained in the said agreement, on production of the bank guarantee for ----------------------------------------------------
1. we, (name of the bank) -------------------------------------------------------------------(hereinafter refer to as ‘the bank’ ) at the request of --------------------------------------------------------------- (contractor (s)) do hereby undertake to pay to the BSNL an amount not exceeding ---------------------------- against any loss or damage caused to or suffered or would be caused to or suffered by BSNL by reason of any breach by the said Contractor(s) of any of the terms or conditions contained in the said Agreement.
2 | We (name of the bank) -------------------------------------- do hereby undertake to pay the amounts due and payable under this guarantee without any demure, merely on a demand from the BSNL by reason of breach by the said contractor(s) of any of the terms or conditions contained in the said agreement or by reason of the contractor(s) failure to perform the said Agreement. Any such demand made on the bank shall be conclusive as regards the amount due and payable by the Bank under this guarantee where the decision of BSNL in these counts shall be final and binding on the bank. However, our liability under this guarantee shall be restricted to an amount not exceeding --------------------.
3 | We undertake to pay to the BSNL any money so demanded notwithstanding any dispute or disputes raised by the contractor(s)/supplier(s) in any suit or proceeding pending before any court or tribunal relating thereto our liability under this present being absolute and unequivocal. The payment so made by us under this bond shall be valid discharge of our liability for payment there under and the contractor(s)/supplier(s) shall have no claim against us for making such payment.
4 | We (name of the bank) ---------------------------------------- further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the BSNL under or by virtue of the said Agreement have been fully paid and its claims satisfied or discharged or till -----------------------------------------------------------------(office/Department)
BSNL certifies that the terms and conditions of the said Agreement have been fully or properly carried out by the said contractor(s) and accordingly discharges this guarantee. Unless a demand or claim under this guarantee is made on us in writing on or before the expiry of TWO/TWO AND HALF/THREE YEARS (as specified in P.O.) from the date hereof, we shall be discharged from all liabilities under this guarantee thereafter.
5 | We (name of the bank) ---------------------------------------- further agree with the BSNL that the BSNL shall have the fullest liberty without our consent and without affecting in any manner our obligations hereunder to vary any of the terms and conditions of the said Agreement or to extend time of performance by the said contractor(s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the BSNL against the said Contractor(s) and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said Contractor(s) or for any forbearance, act or omission on the part of the BSNL or any indulgence by the BSNL to said Contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.
6 | This guarantee will not be discharged due to the change in the constitution of the Bank or the Contractor(s)./Supplier(s)
7 | We (name of the bank) ------------------------------------------ lastly undertake not to revoke this guarantee during its currency except with the previous consent of the BSNL in writing.
Dated the ---------------------------day of-----------------
For
----------------------------------------------------

## (imp.n.contr) 14-15-16-17
SCHEDULE “D”
(III) IMPORTANT NOTES FOR CONTRACTORS
1 | EARNEST MONEY:
1.1. | VALUE:
The amount of Earnest Money to be deposited with each tender is 2% of the estimated cost put to the tender subject to a maximum of Rs. 2 crores. Earnest money will be acceptable in the form of CDR / FDR / DD / BG.
1.2 | Validity Period
The validity period of the Earnest Money Deposit is kept 30 days beyond the tender validity period.
1.3 | Extension of Validity
In case, where the letter of award of work cannot be placed within the validity period of the tender, the BSNL can request all tenderers to extend the validity of their respective tenders and the Earnest Money deposit by a reasonable period. In such cases, extension of validity of Earnest Money deposit by 30 days beyond the extended validity date of tender should also be asked for. While BSNL can make the request for extension, the tenderer is free to either extend the validity or refuse the request to extend the Validity.
1.4 | Release of Earnest Money deposit
Earnest Money deposit of all unsuccessful tenderers should be released on issue of award letter to the successful tenderer. This should be done within one week of issue of award letter.
In case of successful tenderer, the Earnest Money deposit is released on their submitting performance bank guarantee.
Where the BSNL requests the tenderer to extend the validity of the tender beyond the stipulated period given in the tender documents, and the tenderer refuses to extend the validity of his tender, the Earnest Money deposit of such tenderers is returned forthwith.
1.5 | Completion of work
At the time of issuing NIT for a particular work, the time allowed for completion of work consistent with magnitude and urgency of work is specified. The time allowed for carrying out the work as entered in the contract is reckoned from the at once after the date on which the orders to commence the work are given to the contractor. To ensure good progress of the work during the execution, the contractor is bound, in all cases, in which the time allowed for any work exceeds one month (except special jobs), to complete 1/8th of the whole of the work before 1/8th of the time allowed under the contract has elapsed, 3/8th of the work before ½ of the time has elapsed and ¾th of the work before ¾th of such time has elapsed. However, for special jobs, if a time schedule has been submitted by the contractor and the same has been accepted by the Engineer – in – charge, the contractor shall comply with such time schedule.
1.6 | Extension of Time
If the contractor shall desire an extension of time for completion of work on the grounds of his having been unavoidably hindered in its execution or on any other ground, he shall apply in writing to the Engineer – in –charge within 30 days of the hindrance on the account on which he desires such extension as aforesaid, and the Engineer – in – charge shall, if in his opinion reasonable grounds to be shown therefore, authorize such provisional extension of time, if any, as in his opinion be necessary or proper.
1.7 | Compensation for delay
If the contractor fails to maintain the required progress or complete the work and clear the site on or before the contract or extended date of completion, he has to pay the compensation for delay which is limited to 0.5% per week of work order value for the first 10 weeks and 0.7 % per week for next 10 weeks and thereafter subject to a maximum of 12% of the work order value for the location where the work is delayed and the firm is found responsible for the same. Flow chart of the procurement process / contract shall be supplied by the contractor and approved by Executive Engineer concerned.
1.8 | QUALITY ASSURANCE:
The EI works shall be executed in accordance to the CPWD specifications. The work is considered to be completed only after the successful completion of Testing of the system as per CPWD specifications. For EA set Repairing Works the work is considered to be completed after conducting successful load testing with existing Exchange/ Building Load. For HT line work the work is considered to be completed only after obtaining clearance from Electrical Inspector. Responsibility lies with the contractor to get the clearance for construction of HT line and charging of HT line from the Electrical Inspector of the local Electrical Inspectorate / Electricity Authority / Board.
1.9 | Determination of Contract
The Engineer – in – charge may determine the contract in respect of any delay, inferior workmanship as per clause 3 of EW-8 contract conditions.
1. 10 INCREASE/DECREASE OF TENDER QUANTITY :- BSNL will have the right to increase / decrease up to 50% of the quantity of goods and services specified in the schedule of items without any change in the unit price or other terms and conditions at the time of award of contract. In exceptional and unavoidable cases BSNL can increase the quantity of goods and services beyond 50% of the tendered quantity without any change in tendered and accepted unit price and also other terms and conditions as applicable at the time of award of contract.
1. 11 OPERATION OF RATE CONTRACT
(a The operation of this Rate Contract shall be governed by the General Rules and conditions of the Contract.
(b) Signing of Contract:-
The successful tenderer /contractor, on acceptance of his tender by the Accepting Authority, shall sign the contract within 15days consisting of the notice inviting tender, all documents including drawings, if any, forming the tender as issued at the time of invitation of tender & acceptance thereof together with any correspondence leading thereto.
1. 12 CURTAILMENT OF QUANTITY:-
BSNL reserves the right to enforce curtailment in the assigned quantum of work for any contractor on the grounds of defaults/delay in regard to execution of the individual work assigned
1. 13 VARIATION IN GST:
In case of any statutory variation in regard to Input tax credit, within the currency of individual agreement including extension of time period, the same shall be admissible as per actual Input tax credit only, subject to the condition that the reason for such extension of time period is not attributable to the agency.
1.14 | Performance Review
In order to view the performance of the firms and to suggest the suitable corrective measures, performance review committee reviews the performance of Air conditioning and Engine Alternator firms annually at Head Quarter level, whereas the performance review of Substation, Fire Detection & AVR firms is done at CE(E) level. Firms whose performance not found to be satisfactory are blacklisted for a suitable period.
1.15 | COMPLETION PERIOD:
The period of completion of work will be within stipulated time of 30 days from the date of issue of work order.
2 | PAYMENT TERMS:
No advance payment will be made. The payment terms shall be governed as per Clause-7 of BSNL EW-8. No payment will be made for goods rejected at the site. Payment, if made, for such items shall be recovered from subsequent bills or other bills. Stipulations like levy of interest if payment is not made in specified time are not acceptable to the BSNL.
Payment of specified percentage of the price (As per BSNL EW 8) shall be made on receipt of goods by consignee. For claiming this payment the following documents are to be submitted to the paying authority.
(a) Invoice clearly indicating break up details of composite price i.e. Basic, Goods and Services Tax (GST), any other Duties and Taxes, Freight/Packing Charges, etc.
(b) Acknowledged Delivery Challan in original.
(c) Inspection Certificate of QA(Payable copy in original)
(d) The sea freight receipt as per the rates approved by the Ministry of Water and Surface Transport, if applicable.
(e) E-way bill as prescribed in the GST law in case of movement of goods
(f) Proof of payment of GST, if applicable.
(g) Timely uploading of correct and necessary information on GSTN portal is mandatory as prescribed in GST compliances.
Note :- 1) If the supplier fails to furnish necessary supporting documents i.e. GST invoice / Customs invoices etc. and also fails to upload the information on GSTN in respect of the Duties/taxes for which input tax credit is available, the amount pertaining to such Duties/Taxes will be deducted from the payment due to the supplier.
2) Tax amount will be paid to the supplier only after supplier declares the details of the invoices in its return in GSTR 1 and GSTR-3 uploaded by the supplier and the same is reflected in GSTR-2A of BSNL on GSTN portal .
3) TDS/ TCS shall be deducted at the prescribed rate, if any (as the case may be).
4) BSNL can adjust/ forfeit Bank Guarantee obtained from the supplier against any loss of input tax credit to BSNL on account of supplier's default.
5) In case BSNL has to pay GST on reverse charge bais, the supplier would not charge GST on its invices. Further, the supplier undertakes to comply with the provisions of GST law as may be applicable.
2. 1. In Addition to the above conditions the following technical conditions are to be fulfilled before making payment to the contractor
The tests reqd pertaining to the type of equipment / installation to be conducted by the concerned SDE / JTO in presence of the departmental staff / contractor for satisfactory operation of that equipment to the satisfaction of the Department as per the the condition given in the agreement.
3 | TAX INDEMNITY CLAUSE :
(i) BSNL has the right to recover Input Tax Credit loss suffered by it due to any mis-declaration on invoice by the supplier.
(ii) In case the supplier gets black-listed during the tenure of BSNL contract,it is to be ensured that no loss of Input Tax credit is borne by BSNL due to a default of supplier.
(iii) It is hereby agreed between both the parties that in case any GST and/ or cess liability, interest, penalties or any other tax/ duty/ amount/ charge/ liability / professional costs related to litigation becomes payable by BSNL or input tax credit is denied to BSNL due to failure of the supplier to comply with the relevant laws/ regulations applicable in India or overseas, Supplier undertakes to indemnify BSNL for an amount equal to amount payable by BSNL and the same shall be recovered by BSNL
4 | BID PRICES:
(i)The bidder shall give the total composite price inclusive of all levies & taxes i.e. Custom Duty Goods & Services Tax on packing, forwarding, freight and insurance and Entry Tax as applicable etc. The offer shall be in Indian Rupees. No Foreign Exchange will be made available by the purchaser. Ths basic unit price and all other components of the price need to be individually indicated up to two decimal points only against the goods. The offer shall be in indian Rupees only.
(i) Documentary proof of GST Registration.
(ii) All the taxes and duties will be as per applicable GST. Since GST qualifies for input tax credit. Agency should separately quote GST components. To avail of applicable input tax credit by BSNL, the firm shall have to submit Tax invoice showing GST components with Service Code while claiming bills.
(iv) GST and any other tax applicable in respect of this contract shall be borne by the bidder himself. The bidder shall quote his rates considering all such taxes. The TDS as per the Govt. regulations will be recovered from the contractor.
v) The Contractor/ Supplier shall quote as per price schedule for all items given in the Schedule of quantities given in the “Schedule-A”.
(vi) A bid submitted with an adjustable price quotation will be treated as non-responsive and rejected.
(vii)The price quoted by the bidder shall be in sufficient details to enable the Purchaser to arrive at the price of equipment/ system offered.
(viii) ‘DISCOUNT” if any, offered by the bidders shall not be considered unless specifically indicated in the price schedule. Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply etc. into account.
(ix) The price approved by BSNL for procurement will be inclusive of levies and taxes, packing, forwarding, freight and insurance etc.
5 | EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS
(a)The evaluation and comparison of responsive bids shall be done on the basis of Net cost to BSNL on the prices offered inclusive of packing, forwarding, freight and insurance charges etc., but excluding GST. The bid with lowest net cost as elaborated above will be the L1 bidder.
(b) The evaluation and comparison of responsive tenders shall be done on the basis of net cost to BSNL, considering GST as Input Tax credit.
(c) Vendor should furnish the correct GST Rates in the price schedule. If the input Tax credit is found to be not admissible at any stage subsequently owing to wrong furnishing of GST Rates, then the vendor will be liable to refund such non admissible amount, if already paid, along with penalty if charged by the concerned authority.
(d) In case the Duties, Taxes and Cesses which are not eligible for input tax credit as per the quotes indicated in the price schedule by the suppliers and subsequently at any stage it is found that Credit for such Duties, Taxes and Cesses is admissible as per provision of GST law, then the supplier will be liable to refund the amount equivalent of such Duties, Taxes & cesses if already paid to them provided the credit can be claimed with in the time prescribed under the applicable legislation and BSNL has all documents to claim such credit. The refund is also subject to the bidder performing necessary act for enabling BSNL to claim the credit viz. upload the information on GSTN. However, the purchaser may allow the supplier to submit necessary documents in this regard which may enable the purchaser to avail the input tax credit provided such credit is still available for the amount so paid as per provision of GST law.
(f) BSNL can adjust/forfeit bank guarantee obtained from the supplier against any loss of input tax credit to BSNL on account of supplier’s default.
(g) In case BSNL has to pay GST on reverse charge basis, the supplier would not charge GST on its invoices. Further, the supplier undertakes to comply with the provisions of GST law as may be applicable.
(h) If the supplier fails to furnish necessary supporting documents that is GST invoice/custom invoices etc and also fails to upload the information on GSTN in respect of the duties/taxes for which input tax credit is available, the amount pertaining to such duties/taxes will be deducted from the payment due to the supplier.
(i) Payment against GST credit will be made only when GST compliant invoice is submitted by the supplier.
(j) GST (if applicable) on account of liquidated damages due to delay in supply of goods would be borne by supplier.
6 | The firm shall read carefully the following conditions and shall quote accordingly confirming all the points in their offer.
(a)Department reserves the right to accept the quantities in full or in parts.
(b) Department reserves the right to send authorized representative to witness the test if felt necessary.
(c) Since the contract period of this work is less than eighteen months therefore Clause 10(CC) will not be applicable as per section 32.8.2 of CPWD Manual.
7 Rates quoted by the contractor shall be firm and shall be valid for the currency of contract. No cost escalation shall be permitted during the currency of contract.
8 | PROGRAMME FOR EXECUTION:
(a)The firm shall supply the detailed programme to the Engineer-in-charge within seven days award letter. The programme shall contain details about submission of drawing & tentative dates for inspection/testing by the department.
(b)The firm shall get the layout approved from the Engineer-in-charge. The approval of layout drawings will not absolve the firm from its responsibilities for supplying and installing the system in accordance with the relevant specifications/ codes/agreement conditions.
9 | QUALITY ASSURANCE
The EI works shall be executed in accordance to the latest CPWD specification. The work is considered to be completed only after the successful completion of Testing of the syatem as per CPWD specification pertaining to that particular type of work.
10 | STORES AND MATERIALS:
All the stores and materials required for the work except those specified, as departmental supply shall be arranged at work site by the firm from his own resources or open market. It should be clearly understood that no claim whatsoever should be entertained by the department on this account. Safe custody of the materials brought at site shall be firm’s responsibility till the installation is taken over by the department after successful testing & commissioning. However a lockable space may be provided by the department on intimation well in advance before receipt of material at site. Accommodation for erection crew will not be provided by the department.
11 | CO-ORDINATION:
Generally more than one agency is working at the same premises. It shall be the aim of agencies that on their account the work of the other agencies is not delayed. Full co-ordination and co-operation shall therefore be extended during the execution of the work to ensure prompt and quality work.
12 | SPECIAL CONDITIONS:
(i)The firm should note that offers with condition and / or conditional rebates will be summarily rejected.
(ii)The layout of the work will be given by the Engineer-in-Charge or his duly authorized representative at site of works.
(iii) The contractor has to test the system for the insulation and continuity for which nothing extra is payable.
(iv)The contractor has to arrange the following test failing which the Rs. 500.00 (Rupees five hundred only) will be recovered from his final bill.
· For EI Work: - Insulation test, Continuity test, Earthing test and Test Report.
· For AC Repairing Works : Successful cooling testing with existing Exchange/ Building Load.
(v) Any damage done to the building during the execution of work will have to make good at the entire satisfaction of Engineer-in-Charge.
(vi) Items which are not included in the “list of approved makes” only ISI marked material shall be used. In case ISI marked is not available in particular item, material conforming to BS, shall be provided.
13 (i) TERMINATION OF CONTRACT ON DEATH OF CONTRACTOR:
Without prejudice of any of the rights or remedies under this contract, if the contractor dies, the Enginer-in-charge on behalf of the BSNL shall have the option to terminating the contract without compensation to the contractor.
(ii) INDULGING OF CONTRACTOR IN CRIMINAL/ANTISOCIAL ACTIVITIES AND CASES UNDER INVESTIGATION/CHARGE SHEETED BY CBI OR ANY OTHER GOVERNMENT AGENCIES ETC:
If the CBI/Independent External Monitor (IEM)/ Income Tax/ sales Tax/ Central Excise/ Custom Departments recommended such a course- action will be taken as per the directions of CBI or concerned department.

## (approved make)18-19
LIST OF APPROVED MAKES- BSNL ELECTRICAL WING
S. N o. | I t em | Ma kes
1 | Engine | Ash ok Leyla nd / Cumm ins/ Cater pillar / KOEL/ Volvo Pent a / Mahindra & M ahindra ( u p t o 4 0 KVA) / Escorts ( up to 3 0 KVA) / Eiche r ( up t o 2 0 KVA)
2 | Alt ernator ( Brushless) | Crom pton Greaves ( AL. ser ies) / KEC / Leroy Somer / Stam ford/ Jyoti Lt d
3 | Battery ( Lead Acid / Mntce. Free) | Amar Raja / AMCO / Farukaw a / H it achi / Exide/ Prestolit e / Standar d
4 | H V Sw it chgear ( Vacu um Circuit Break er/ SF6 ) | Biecco Law r ie / Crom pt on / Kirloska r / M EI / Jyoti Lt d
5 | Transfor m e r ( Oil filled / Dr y t ype) | ABB / Schn eider Ele ct r ic / Andrew Yule / Bharat Bij lee / Crom pt on / EMCO / Kirloskar / Siem ens
a) Above 4 0 0 KVA
| b) Up t o 4 0 0 KVA | I n addit ion to above m a kes, Ut t am / Aut om at ic Ele ct r ic Gear( AEG) / Patson/ Raj ast han Tr ansform er an d Sw it chgear
6 | Air Circuit Br eake r | L& T/ Schneider Elect ric / Siem ens
7 | MCCB( I cs= I cu) | L& T/ Schneider Elect ric / Siem ens
8 | SDF unit s | L& T/ Schneider Elect ric / Siem ens/ H PL/ H ave lls
9 | Pow er Cont act ors | L& T/ Schne ide r Elect r ic / Siem e ns/ Laksh m i( LECS)
1 0 | Change Over Sw it ch | H PL / H avells / H - H Elcon
1 1 | I nte lligent APFC Relay | L& T/ EPCOS( Siem ens) / Schneider Elect ric / N ept une Ducat i/ Synt ron/ ABB
1 2 | Bus Bar Tru nkin g/ Sandw iched Bus Duct | Moeller/ L& T/ Schneider Elect ric/ ABB/ Legran d/ Zet a
1 3 | Pow er Capacit ors ( M PP/ APP) | L& T/ EPCOS( Siem ens) / ABB/ Crom pton/ Schneider Elect ric/ Nept une Ducat i
1 4 | Digit a l/ KW H r m et er | Schneider Elect ric/ AE/ Digit r on / I MP/ M eco / Rishabh / Universal/ H PL/ L& T/ ABB
1 5 | Cold sh rink HT/ LT Cable Join t | Denson / 3 M ( M- Seal ) / Ra ychem
1 6 | Rubber Mat t ing | I SI m ark
1 7 | MCB/ lsolat or / ELCB/ RCCB/ Dist ribut ion Boar d | Crom pton / H avells / lndokopp / M DS Legr and/ L& T / Schneider Elect ric/ Siem ens / Standard/ C& S/ ABB/ H PL
1 8 | MS/ PVC Con duit | I SI m a rk
1 9 | Cable Tray | M EM / Bha rt i/ Rat an/ Slot co/ Profab
2 0 | H T/ LT Cables | I SI m ark
2 1 | PVC insu lat ed copper conductor w ire | I SI m a rk
2 2 | Cent r ifugal Pum p | Amrut / BE / Be acon / Bat liboi / Crom pton / Jyot i / Kir loskar / KSB / M at he r & platt / W ASP/ Grundfos
2 3 | Subm ersible Pum p | Crom pton/ Am r ut / BE / Calam a / Kir loskar / KSB
2 4 | Motors | ABB/ Bharat Bij le e / Cr om pton Grea ves / Schneider Elect ric / H BB / KEC / Sie m ens/ Jyot i Lt d
2 5 | Fresh Air Fans | GE / Khaitan/ Alm onar d/ Cr om pt on
2 6 | St arter | ABB / BCH / Schne ide r Elect r ic / L& T / Siem ens /
2 7 | Single Phase Pr event er | L& T / M in ilec / Siem ens / Zerot r ip
2 8 | GI / M S Pipe | ATC / ATL / BST / GSI / I TC / I TS / I I A / JST / Jinda l / TTA / Tat a/ Zenith
2 9 | Foot Valve | I SI m ark
3 0 | Gate Valve | Adva nce/ Au dco/ Johnson Cont rols/ Zoloto/ Annapu rna / Fount ain / Kirloskar / Leader / Sant / Tr ishul
3 1 | Com pressors | Carr ier / Em erson copeland/ York/ Danfoss ( for chillers only)
3 2 | Resin Bonded Glass w ool | Fibre Glass / Pilkingst on / UP Tw iga
3 3 | Expanded Polyst yrene | BASF( I ndia) Lt d.
3 4 | Gauge | Feibig / H .Gur u / Pr icol
3 5 | Cont rols | FLI CA / H oneyw ell / I ndfoss / Penn- Danfoss / Ranco / Ranut rol / Sporland
3 6 | Fin e Filt er s | Anfilt ra Effluent / ARW / Athlet e/ Airt ake/ Dyna / Kir sloskar / Purom at ic/ Purafill/ Pur olator / Ten acit y
3 7 | GI Sheet | H SU Jindal / N at iona l / N ippon Den ro / Sail / Tat a
38 | Heat Det ect or | Appollo / Ch em t ron / Edw a rd / Fenw al/ H ochiki / N it t on / Syst em Se nsor / W orm a ld/ Honeyw ell Essar/ Not ifier
3 9 | I onizat ion Det ect or | Appollo / Cerebrus / Edw ard/ / Fenw al / Hochiki / N it ton / Syst em Sensor / W orm a ld
4 0 | Photo Elect ric Sm oke Det ector | Appollo / Cer ebr us / Edw a rd / Fenw al/ H ochiki / N it ton / W orm ald
4 1 | Fir e Panel ( M icroprocessor based) | Agni I nst rum ents / Agni Device s/ Aruna Agencies/ Carm el Sensor / Ravel Elect ./ Hone yw ell Essar/ Not if ier / Navin System s
4 2 | Sprinkler/ Hose Ree l & H ose Pipe | I SI m ark
4 3 | Fir e Ext inguisher | I SI m ark
4 4 | Lift | OTI S, Kone, Mitsubishi , Schin dler ,Johnson
N O T E:
1 . In case of External / PMC works, the list of approved makes may be modified as per client ’s requirement .
2 . The accessories such as CT/ PT/ measuring instrum ent / relays provided by approved make in respect of Transformer/ HT Panel/ DG / AC Package Unit s as supplied by approved manufacturer along with the equipments are also acceptable in addition .
3 . Any additional makes may be approved by concer ned PCEs/ Sr CEs/ CEs( Elect ) for t he w ork under his jur isdict ion as alrea dy accor ded vide lett er no. 3 - 2 - 5 / EW / VEP- 1 / 2 0 0 7 dat ed 0 5 - 0 7 - 2 0 0 7 .

## IMP NOTES FOR MTCE 21 - 31 (hidden)
1. IMPORTANT NOTES FOR CONTRACTORS-MTCE WORKS:
a. The rates quoted shall be inclusive of all taxes / duties, work contract tax, cess and octroi and service tax etc. Nothing extra will be paid. No concession forms/ certificates will be issued by the department.
b. The rates for all items of work, shall, include cost of all labour, materials and other inputs involved in the execution of the item as specified in the scope of work.
c. Contractor shall mention his “Assam GST Registration” details and Service tax registration, if any.
d. WCT, surcharge, service tax, etc. if any and cess will be deducted from the contractor’s bill as per the AGST Act & Rules as applicable from registered and unregistered contractors at the time of deduction and TDS certificate will be issued.
e. Tenders with conditional rebate offer will be summarily rejected. BSNL reserves the right to accept the quantity in full or in parts.
f. Any additional condition will not be accepted and in case of such an event, the tender is liable for rejection.
g. Rates may be quoted in the schedule only and if quoted elsewhere the same shall not be considered.
h.The tenders those which are having more corrections/over writing in the Schedule/ using white fluid are liable to be rejected.
i. All materials used should be of BSNL approved make as per List of approved makes.
2 .TERMINATION OF CONTRACT:
a. Right is reserved by BSNL for terminating the contract due to serious default. This includes major breakdown or accident or loss due to negligence on the part of the firm, failure to attend breakdown, disobedience and abandoning the site etc. In such a case, full 10 % Performance Guarantee shall be forfeited by BSNL and recovery of damage done. The decision of the Superintending Engineer in this regard shall be final and binding.
b. Right is reserved by BSNL for closure of the contract at any time by giving one month’s notice for reasons not attributed to the firm, for which BSNL shall not entertain any claim
3. PERIOD OF CONTRACT:
The period of contract shall be 24 months.
4. INCREASE/ DECREASE OF TENDERED QUANTITY:
5. The bidder must possess EPF and ESI registration as per EPF and miscellaneous provisions Act - 1952 and follow the latest EPF, ESI and Central Government minimum wage act regarding labour payment
a. BSNL will have the right to add or delete any of EMS during the contract period. Newly installed EMS after warrantee period will automatically be included in the maintenance contract, without any change in the unit price or other terms and conditions at the time of award of contract.
b. BSNL will have the right to increase or decrease up to 25% of the contract value or 6 months whichever is less, depending up on the requirement of goods and services specified in the schedule of items without any change in the unit price or other terms and conditions at the time of award of contract.
c. In exceptional situation where the requirement is of an emergent nature and it is necessary to ensure continued supplies from the existing vendors, the purchaser reserves the right to place repeat order up to 50% of the quantities of goods and services contained in the running tender/ contract within a period of twelve months from date of Award of work at the same rate or a rate negotiated (downwardly) with the existing vendors considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc.
5.a) Tendered rates are inclusive of taxes and levies payable under the respective statutes. However, pursuant to the constitution (Forty six amendment) Act, 1982, if any further tax or levy is imposed by statute after the date of receipt of tenders and the contractor (s) thereupon necessarily and properly pays taxes or levies, the contractor(s) shall be reimbursed the amount also paid provided such payment if any is not in the opinion of SE(whose decision shall be final and binding) attributable to delay in execution of work within the control of the contractor(s).
(b) The contractor(s) shall keep necessary books of account and other documents for the purpose of this condition as may be necessary and shall allow inspection of the same by a duly authorized representative of Government and shall furnish such other information/documents as the Engineer -in-charge may require.
(c) The contractor(s) shall within a period of 30 days of imposition of any further tax or levy pursuant to the constitution (Forty six-Amendment) Act 1982, give a written notice thereof to the Engineer-in-charge that the same is given pursuant to this condition together with all necessary information relating thereto.
Note: No additional condition whatsoever will be accepted for turnover tax/sales tax on works contract. In case of additional conditions for the payment of such claims by the contractor the tender may be liable to be summarily rejected by the accepting authority.
6. The service tax (if applicable) is to be deducted from the contractor’s bill @ 50% of the total Service tax amount and to be deposited by BSNL and balance 50% service tax to be reimbursed to the agency by the department on production of the documents for actually paying the amount to the Service tax authority. The department, while taking the CENVAT credit, 100% shall be taken into account.
6(a) In case of works contracts entered into for execution of original works, service tax shall be payable on 40% (Forty percent) of the total amount charged for the works contract. Original works mean all new construction, all types of addition, alteration to abandoned or damaged structure on land that are required to make them workable and erection , commissioning or installation of plant machinery or equipment or structure etc.
6(b) In case of works contracts entered into for maintenance or repair or reconditioning or restoration or servicing of any goods, service tax shall be payable on 70% (Seventy percent) of total amount charged for works contract.
CONDITIONS FOR MAINTENANCE
(A) GENERAL CONDITIONS
1. The nature of job for which this contract is for a short period, not of perennial nature and the job is not for a long period. This contract itself is not essential for operation of telecommunication services of BSNL. No claim of any nature from the contractor or from his staff or anybody else can be made on the department/BSNL on any basis.
2. Firm shall have round the clock contact telephone number land/mobile in the HQ of SSA/SDE(E), in case of emergency, contractor and Authorized Engineer / Supervisor shall be available at site on short notice from Engineer-in-charge and make all efforts to make the situation normal at the earliest.
3. The workers engaged by the firm shall maintain proper discipline and good behaviour with occupants.
4. The firm shall remove such workers from the site whose behaviour is found improper; Executive Engineer’s decision shall be final in this case.
5. Inspect all the system for proper Electrical connection & Installation and shortcoming to be recorded and brought to the notice of the Engineer-in-Charge. and attend the same.
6. All materials shall be of approved make, model and capacity and shall be matching to the system.
7. Invoice shall be produced in case of all major items as a proof of genuine spares. Obsolete items not available in market can be repaired and used .
8. After taking over the agency shall prepare the detailed inventory list. One copy of the inventory details shall be available in the Sub Division. The details shall include , make, model, capacity, date of supply / commissioning, life served, whether under guarantee / warrantee etc. and be kept in a register.
9. The Sub Division shall maintain the register, showing the name of location and the details. New Units being installed in the future shall be entered in this register progressively.
10. Log book shall be maintained (few pages for each activity).All the work carried out daily shall be recorded .Separate log book for engine alternator set, and Package AC units shall be maintained giving details of operation .
11. TOOLS & PLANTS :
All tools and plants required for carrying out various tasks relevant to the work have to be arranged by the agency at his own cost. The contractor should own the following essential tools and plants :
i. Multi meter (VAR),
ii. Megger (insulation tester – 500V),
iii. Earth tester,
iv. Tong tester,
v. Psychrometer,
vi. Anemometer,
vii. Hydrometer.
viii. Line tester,
ix. Nose plier,
x. Combination plier,
xi. Set of screw drivers,
xii. Set of fixed, ring and box spanners (6mm to 32mm),
xiii. Adjustable spanner,
xiv. Set of Allen keys,
xv.11/22KV rubber hand gloves,
xvi. Leak Tester,
xvii. Gas charging Equipment
xviii. Pressure Gauge
xix. Vacuum Pump
xx. Tube Bender
xxi. Flaring tool .
xxii. Test lamp- standard type
xxiii. Rechargeable Emergency Lamp
xxiv. Torch Light
12. The agency shall provide the workers with necessary T&P, Testing & safety equipments.
13. Any accident or damage during maintenance / operation will be the responsibility of the agency & the Department will not entertain any claim, compensation, penalty etc. on this account or on account of non observation of any other requirement of law relevant to his work.
14. Agency has to observe all the labour rules & regulations in force and cover the employees with accident insurance.
15. Dismantled materials shall be returned to the department except those items for which the replacement is supplied under buyback scheme by the agency.
16. The contractor has to keep all the Electro-mechanical equipments and site neat and clean to avoid any accident and or fire hazards.
17. A complaint register as per Performa shall be kept up to date by the firm and the same shall be available for checking & verification.
18. The contractor shall be responsible for any discrepancies vis-à-vis, the status of installation at the start of work plus any modifications / replacement carried out during the currency of the contract.
19. The contractor / Agency shall work himself or employ himself or preferably the contractor shall employ experienced/ retired employees with proper experience in the respective field.
20. The contractor/Agency shall not employ labour on contract at any time.
21. The maintenance shall be for 24 Hrs round the clock. One qualified supervisor cum operator shall be available at the maintenance centre. Additional staff needed to meet the task assigned to them shall be arranged then and there. Staff should not leave the centre without proper handing over and briefing of work handled by them Separate maintenance logbook shall be maintained one for PAC/E/A operation and one for maintenance work done .
22. All the services shall be handed over to the firm in good working condition. At the time of handing over, discrepancies noticed shall be made good by the department within one month of time if there is no previous maintenance agreement. If the services were maintained by other agency, the services should be repaired by the previous agency whose maintenance was in force.
23. After completion of maintenance contract, all the services should be re-handed over to the department in good working condition failing to which the department reserves the right to get it rectified at the risk and cost of the agency without serving further notice to the agency.
24. Only those contractors who agree on the above conditions need to quote for this contract.
If any further clarifications required, the same shall be got clarified before submitting the tender.
(B) COMMERCIAL CONDITIONS
Terms of Payment.
i] The agency shall submit the fault list within 15 days from the date of taking over from the Sub Divisional in charge .
ii) The previous agency shall rectify all the faults specified by the new agency before handing over, failing which necessary recovery shall be made from the bill of previous agency.
iii] The contractor shall prepare the maintenance report of all maintenance carried out in duplicate counter signed by the JTO/SDE on 5th of next month for every preceding month and submit one copy of the same along with the bill.
iv] Payment shall be made on Monthly basis (calendar months) by cheque only.
v] The contractor shall submit his monthly bill along with the certificate as shown below by 5th of next month for every preceding month. The bill will be verified by JTO and the certificate will have to be countersigned by JTO and SDE. The measurement shall be done in Computerised measurement book (CMB) as per the latest guidelines issued by the BSNL corporate Office, New Delhi and CPWD works manual, 2014
vi] The bill shall be submitted showing separately the service tax component applicable.
The following certificates (1&2) shall be submitted with the bill
1.MAINTAINANCE WORK CARRIED OUT FOR THE MONTH OF ………….
| Sr.No. | Description |  |  | Work done |  |  |  | Remarks
Mention what are the works carried out
| 1 | E/A sets
| 2 | Transformer Sub-Station
| 3 | Window/Split AC units
| 4 | EI & Fans
| 5 | Compound lights
| 6 | LT panels
| 7 | Earth station
|  | Sign. of contractor |  |  | Signature of JTO |  |  |  | Signature of SDE
2.CERTIFICATE
Certified that M/s. ----------------------------------------------------------- has executed the comprehensive maintenance of E/A sets, Transformer Sub-Station, W/T , S/T and HS/T A/C units, EI & Fans as per the Schedule and agreement promptly and satisfactorily during the month of---------------------
Contractor
( C ) Termination clause :
a] The performance of all agencies will be reviewed every 3 months. If the performance of the contractor is not satisfactory the contract will be terminated with one-month notice.
b] The Department reserves the right to terminate the contract by giving show cause notice of one-month duration at any time during the currency of the contract.
c] The Department reserves the right to carry out any work at the risk and cost of the agency, if the agency fails to perform his duty as per the contract.
(D) METHODOLOGY
It is presumed that contractor will provide minimum qualified staff at the site, which will be adequate to perform routine maintenance and operation functions. For optimum utilization one person can be responsible for number of services. Also maintenance staff has to be available round the clock the year even on holidays., However strength may vary during day and night shifts. Scheme for staff employed shall be got approved from the Engineer-in-Charge. In case of faults beyond the capacity of the staff provided as above, contractor should immediately provide extra-specialized work force so as to attend the fault in minimum reasonable time.
However it is the firm’s responsibility to carry out proper work as per agreement and if more persons are required, it is to be arranged by the firm at no extra cost. Duty chart, with name of operator, for round the clock operation is to be made by the agency and displayed at site.
(E) QUALIFICATION OF THE MAINTENANCE STAFF
a) For maintenance of, PAC & EA set, the firm shall engage qualified and experienced persons. The details shall be supplied by the contractor before starting the work
i) Engine Alternator set : Mechanics having minimum 3 years experience in EA Sets maintenance and repair.
ii) Air Conditioning : Mechanics having minimum 3 years experience in AC maintenance and repair .
b) The workers engaged by the firm shall maintain proper discipline and good behaviour with occupants. The plant shall be operated by the qualified and competent hands. The agency has to supply details and get the originals of the qualifications & experience certificates of employees attested by SDE for all the workers likely to be engaged by him before start of the work and get it approval of Executive Engineer. The details along with their conduct certificates shall be made as part of the contract. Any change in personnel shall be notified immediately and their relevant records submitted for the original one before the change is made.
c) The operating personnel shall report to the JTO/SDE BSNL Electrical Subdivision daily in person or over phone. The firm shall remove such workers from the site whose behaviour is found improper; Executive Engineer’s decision shall be final in this case.
d) The agency has to supply details of the originals & copies of the qualifications & experience certificates of employees and get attested by SDE, for all the workers likely to be engaged by him before start of the work and get it approved by Executive Engineer
e) Issue of Identification Certificate. Identification certificate& Uniform shall be issued to the labourers of the contractor by the agency. While issuing the identity certificate for the labourers for doing the maintenance work, it shall be clearly indicated that he is the authorized labourer employed by the contractor for doing the maintenance of PAC Plant in the Exchanges & Exchange premises.
f) Identity card shall be displayed by the operator. The firm shall arrange to issue identity cards with the permission of SDE. The firm shall supply 3 sets of identity card (1 for the operator, 1 for exchange authority and 1 for the office use)..The agency shall provide suitable uniform for the operators & Maintenance staffs.
g) Log book shall be maintained (few pages for each activity).All the work carried out daily shall be recorded. Separate log book one for operation and one for maintenance of EMS.
WORKING CONDITIONS
(A) General :-
1. The agency will maintain register of preventive maintenance work undertaken and get signed from JTO (E)/SDE (E)-in-Charge.
2. The logbook must be maintained for Substation, DEA sets, A/C plant and various readings must be noted in it according to the instruction of the Engineer-in-Charge.
3. The agency will display on a board in substation/AC plant/EA room, the duty chart of the workers engaged by him.
4. Watch and ward the installation at the site covered in section –I, shall be the responsibility of the contractor during contract period.
5. Shutdown for maintenance shall be taken with prior approval of the department.
6. The work shall be carried out as per current CPWD specifications and as per schedule of maintenance indicated under each section.
7. The checklist and test requirement are general and any other requirements for smooth operation and maintenance of plant shall be contractor’s responsibility and shall not claim anything extra on this account.
8. Complaint lodged in Register/ intimation given to agency for any fault in services/ equipment not covered under penalty clause shall be treated as notice. If agency will fail to rectify the fault within 7 days the same will be attended at risk & cost of the agency without any further notice. The failure will be treated as poor performance.
(B) PENALTY CLAUSES
(i) General Clauses :-
The Contractor shall carry out comprehensive maintenance in the specified time allowed for the purpose in the tender schedule. The break down maintenance if any reported should be carried out within specified time on intimation of the complaint to the contractor through Telephone. Fax/Mobile phone/written order/E mail
1) Any damages to the installation/building due to the carelessness on the part of the staff of the firm shall be the responsibility of firm and shall be rectified /replaced without any extra cost.
2) Any accident / damage will be the responsibility of agency and the Department will not entertain any claim, compensation, penalty etc. on this account or on account of observation of any other requirement of law relevant to this work.
3) If the agency fails to rectify any fault within reasonable time the department reserves the right to carry out the work at the risk and cost of the agency. In case the fault is of emergency nature which may affect the normal functioning of the services and the firm fails to take immediate necessary action, the work shall be carried out at the risk and cost of the agency without giving any notice . The decision of the EE(E) shall be final.
4) In case of unsatisfactory performance during maintenance period one percent of bill amount shall be imposed. In case of a major accident/loss on account of negligence on the part of the agency or poor performance, the contract shall be terminated and 10% of the tendered amount shall be recovered. Decision of Superintending Engineer (E) shall be final and binding on the contractor.
5)The logbook must be maintained for Substation, DEA sets, A/C plant and various readings must be noted in it according to the instruction of the Engineer-in-Charge.
6) In case normal power supply is not restored within a maximum period of four hours due to any fault caused other than power failure from Supply Company, agency shall be penalized at Rs.500/-- per hour excluding major fault in HT side for which a maximum period of 24 hours is allowed. The contractor shall ensure continuous supply by running Engine Alternator in case of power failure.
7) Contractor shall be responsible for maintenance of power factor within limit (i.e. more than 0.9). Any penalty on this account by ASEB/State Power supply authority shall be recovered from the agency.
8) The agency will display on a board in substation/AC plant/EA room, the duty chart of the workers engaged by him.
9) Watch and ward the installation at the site covered in section –I, shall be the responsibility of the contractor during contract period.
10) Shutdown for maintenance shall be taken with prior approval of the department.
11) The work shall be carried out as per current CPWD specifications and as per schedule of maintenance indicated under each section.
12) The checklist and test requirement are general and any other requirements for smooth operation and maintenance of plant shall be contractor’s responsibility and shall not claim anything extra on this account.
13) Complaint lodged in Register/ intimation given to agency for any fault in services/ equipment not covered under penalty clause shall be treated as notice. If agency will fail to rectify the fault within 7 days the same will be attended at risk & cost of the agency without any further notice. The failure will be treated as poor performance.
(ii) For Sub-Station and MV panel :-
If any component of transformer substation MV Panel i/c transformer, switchgears etc becomes faulty due to any reason, rectification should be done within ten days. Beyond seven days if fault persists, recovery shall be made from the agency @ Rs.250/= per day till rectification of fault.
(iii) For E/A set :-
If any component of E/A set i/c battery, control panel components etc. become faulty due to any reason, fault rectification should be done within Seven days. Beyond this period, if fault persists, recovery shall be done from the agency @ Rs.250/= per day till rectification of fault .
(iv) For WINDOW A.C. /SPLIT A.C.
WAC, SAC, for technical room shall be kept in healthy condition on top priority. If any WAC/ SAC remains faulty for more than three days, recovery shall be done @ Rs. 100/- per day per WAC/SAC unit.
In case of faults continues beyond a certain time as decided by the Engineer-in-Charge, in addition to the penalty to be recovered from the agency, the work shall be carried out by the department at the risk and cost of the agency without any further notice to the agency. The decision taken by the Engineer-in-Charge in this regard shall be final and binding upon the agency.
Any other services coming under the scope of comprehensive maintenance suitable recovery shall be made from the agency at the discretion of the Engineer-in-Charge. The decision of the Engineer-in-Charge shall be final and binding upon the agency.
In case of faults continues beyond a certain time as decided by the Engineer-in-Charge, in addition to the penalty to be recovered from the agency, the work shall be carried out by the department at the risk and cost of the agency without any further notice to the agency. The decision taken by the Engineer-in-Charge in this regard shall be final and binding upon the agency.
Part-lll MAINTENANCE SCHEDULE FOR THE EMS
A. ENGINE ALTERNATOR :-
I. SCOPE OF MAINTENANCE:
1. Ensuring that the E/A set installation is kept in clean and healthy working condition.
2. Testing the system every day for operating fitness.
3. Carrying out various maintenance activities and test as stated in Para-III.
4. Scope of maintenance does not cover major engine repairs. See in Para-VI.
5. The engines have to be operated whenever required and staff should be available round the clock for the same.
6. Periodical changes of Lub oil, Lub Oil filter, Air Filter & Fuel filters etc. shall be done after 250Hours running of E/A set.
II. TASK TO BE PERFORMED WITHIN FIRST 15 DAYS:
1. Inspect the installation for any shortcoming, which is to be recorded and brought to the notice of Engineer-in-Charge.
2. Check the safety devices as well as operating switches for their proper functioning. Any defective item to be attended on priority basis.
3. The system should be brought in to working condition on priority if this is not the case.
4. Identify qualified persons responsible for maintenance and operation of E/A sets.
5. The person(s) should familiarize themselves with the installation, load distribution and working of E/A sets. Need for watch to keep various parameters within permissible limits and responding to various alarms should be clearly understood.
6. Inspect the EA room for proper ventilation (adequate entry for fresh air and free passage of hot air to outside atmosphere should be available). Steps for improvement to be discussed with maintenance –in-charge.
7. The engine capacity vis-à-vis the loads being supplied should be checked to ensure that there is no mismatch.
8. Any other requirement should be discussed and decided with Engineer-in-Charge.
9. Check the earthing system for proper values. The results of inspection as above should be recorded in register and brought to the notice of Engineer-in-Charge.
III. MAINTENANCE SCHEDULE TO BE FOLLOWED:
As per the following Forms attched
Form-10C/ Form-10D/ Form-18A/ Form-21A/ Form-22A/ Form-23A/ Form-23B
FORM-10C
MAINTENANCE SCHEDULE - FIRE BUCKET
FREQUENCY--QUATERLY(FEB./MAY./AUG./NOV.)
| Location |  |  | No. of Buckets | Condition satisfactory or not | Filled with sand or not Fill/replace if necessary. | Painting & sign writing satisfactory or not Paint if necessary | Remarks | Sign. Of AWM/WM | Sign. Of JTO
| Note : - | 1. Please report any missing or misuse case to the concerned caretaker on the same day and record in the remarks column.
FORM--10D
MAINTENANCE SCHEDULE - FIRE EXTINGUISHERS
FREQUENCY--MONTHLY(IV WEEK)
| Location | No. of Extinguisher |  | Capacity |  | Condition weight satisfactory or not |  | Refilling | Remarks
due on
| Note : - | 1. Please look for any tampering or missing items like horns, hose etc. and report for the same to the contractor and record in the remarks column before taking action for replacement.
Recorder by (WM)
FORM-18A
MAINTENANCE SCHEDULE --DISPLAY BOARD/CHART & SIGN BOARD
FREQUENCY --QUARTERLY(JAN/APRIL/JULY/OCT)
| Location |  |  | Fixing arrangement | Cleaning & updating | Replacement of faulty tubes/lamps of | Connections | Alignment | Sign.of AWM/WM/ operator | Sign. Of JTO
Note : -
| 1 | While checking the item I.e. Display Board in a particular room/area please look around and see whether other electrical items like fittings, switch board, sockets etc. are generally in proper working condition or not. If not initiate action.
| 2 | we expect you to be responsible for all electrical items & visit for a particular activity should be utilized to gather information for improving our maintenance quality & make it full proof.
| 3 | Abnormalities or shortcomings, if any should be recorded in the remarks column. Initiate prompt corrective action and record the clearance of shortcomings with date in the remarks column.
FORM-21A
MAINTENANCE SCHEDULE -EARTHING SYSTEM
FREQUENCY --HALF YEARLY( JUNE/DEC.)
| Location |  |  |  | No. of Earth electrode | Earth pit chamber condition | Earth Resistance | Recorded byAWM/WM/ | Checked by JTO | Remarks
FORM-22A
MAINTENANCE SCHEDULE -EMERGENCY LIGHT
FREQUENCY --MONTHLY
| Location |  |  |  | Working OK or not OK | Check battery leakage/pitting | Check Electrolyte Sp. Gravity acidity(take corrective measures if reqd.) | Remarks | Sign. Of AWM/WM/ | Sign.of JTO
FORM--23A
MAINTENANCE SCHEDULE -EA SET
FREQUENCY--DAILY
| Sl.No. | Description of Item |  |  |  |  | Work done | Sign.of JTO | Sign.of SDE | Remarks
| 1 | BEFORE STARTING THE ENGINE
(a) Check and correct cooling water level.
(b) Check and correct belt tension.
( c) Check and correct lub.Oil level.
(d) Check and ensure sufficient quantity of fuel in the tank.
(e)Check battery terminal and connections for proper tightness top-up electrolyte if required.
(f) check and correct leakage if any.
| 2 | AFTER STARTING THE ENGINE
(a) Check lub oil pressure.
(b) Check and correct leakage, if any.
( c) Check all meters, engine noise etc. and correct abnormalities, if any.
(d) Check engine protection system.
| Note : | Run the engine for almost 15 minutes every day to ensure proper working of the engine.
FORM--23B
MAINTENANCE SCHEDULE -EA SET
FREQUENCY--DAILY
| Sl.No. | Description of Item |  |  |  |  | Work done | Sign.of JTO | Sign.of SDE | Remarks
| 1 | Checking and cleaning control panel.
| 2 | Checking protective devices.
| 3 | Checking of tools.
| 4 | Checking of Earths-watering earth pits.
| 5 | Checking of E/A room lights & ventilations..
| 6 | Checking of Battery charger.
| 7 | Clean radiator fins by blowing air in the opposite direction.
| 8 | Check oil level and clean air cleaner.
| 9 | Check and correct loose clamps.
| 10 | Drain 200ml of Diesel from bottom of fuel in tank
Monthly : Proper working of safety devices and alarms.
| Note : | Lub-Oil change, filter change shall be done as per manufacturers recommendation or 250Hours running of E/A set whichever is earlier. (SDE concerned should provide this schedule)
IV. PERIODICAL MAINTENANCE BY SPECIAL AGENCY:
All controls, safety shall be got checked once in six months from authorized dealer in that region or specialized agency approved by the EE (E) and obtain certificate. The same shall be submitted to SDE (E) & acknowledgement obtained. The subsequent payment after the due date of such checking will be made only after this is completed. Failure to comply with this condition will attract penalty of Rs.5000/- on each occasion in addition to any other action as per contract. In addition servicing as per manufacturer recommendation shall be ensured by the agency at his own cost
2. REGISTERS
a] LOG BOOK MAINTENANCE:
Maintain the EA set logbook as per direction of the Engineer-in-Charge. (The Engineer-in-Charge should decide about the item to be recorded in the logbook as well as their frequency. This should be decided so that the data is useful and maintenance of logbook is not reduced to routine meaning less activity. Daily consumption of fuel shall also be recorded).
| Sr. No. | Date | Time | Engine No. | Work done | Initials of W/M | Initials of JTO
1
2
3
b] LOG BOOK FOR OPERATION OF E/A SET( Few sheets shall be allotted for each Engine)
Date | Starting Time |  |  |  | Running Time |  |  | Stopping Time
| Time | Diesel in Ltrs | KWH mtr | Hour Mtr | Voltage | Current | RPM | Time | Diesel in Ltrs | KWH mtr
VI. MATERIALS:
All the materials required with the following exceptions in connection with maintenance including Mobil Oil, Filters, minor repairs in engine, rewinding of alternator, overhauling of pump and self- starter and all materials in control panel shall be arranged by the contractor at his own cost.
Exceptions:
1. Diesel for EA sets.
2. Replacement of Engine Alternator if required in case it has outlived its life.
3. Major overhauling of Engine in normal case that is after 10000 hrs of running.
4. Replacement of battery (In case life expired battery) if required.
Note : All the parts shall be purchased from the authorized dealers of Engine manufacturers in that region & certified cash memo/vouchers shall be submitted to the Engineer-in-Charge.

## Spec 20
SPECIFICATION FOR WORK
1. The work shall be done as per current CPWD specifications, electrical works as embedded from time to time and Indian Electricity rules as amended up to date.
2. The work shall be supervised by qualified technical staff.
3. The layout of the work will be given by the Engineer-in charge or his duly authorized representative at site of work.
4. The following works shall be done on separate conduits a) Power plug wiring. a) Light and fan point wiring. b) Emergency light point wiring. (AC supply/DC supply) c) Telephone wiring. d) Clock wiring. e) AC units wiring. The number of power plug points and emergency light points fed from the DC supply shall not exceed to per circuit in any of the cases.
5. The earthing sets shall be provided in the presence of Engineer-in-charge or his authorized representative.
6. Sample of all the materials, fittings, accessories, IC switch gears, etc. Shall be got approved from the Engineer-in charge before using the name on the work. The rejected materials shall be removed immediately from the site of work.
7. The contractor shall have to submit the completion plan as clause 6(A)1,6(B) of the agreement within 30days of the completion of works. Failing to submit the completion plan, he will be liable to pay a sum equivalent 2.5% of the value of work subject to a ceiling of Rs.2,500/- as per the clause 6(A)1, 6(B) of the agreement.
8. The contractor will have to give the following tests at his cost and intimate test results before final bills are paid. Nothing extra will be paid on this account. a) Earth test. B) Polarity Test. C) Insulation Test. d) Extra continuity test of the surface/recess conduit pipes.
9. Any damage done to the building by the contractor during the execution of work shall have to be made good at his cost and risk. If he does not do it himself within a reasonable time (determined by the Executive Engineer (E) then same will be got done at his cost departmental after giving notice to him.
10. The outlet boxes I.C boxes for switches and end of conduits etc. for different categories of conduit runs catering for different types of electrical wiring as mentioned in clause above shall be painted 8inside/outside with different colour each signifying the decrement categories mentioned so as to avoid mixing of various circuits and their wiring and nothing extra will be paid for this.
11. In the time laying conduit pipe in the slab and in recess, the contractor will keep fish wire of 16 SWG GI wire through out conduit pipe and will have to take special care so that the conduits do not pass through air-conditioning ducts, grills columns, if any such necessity is foreseen special written permission of E.E.(E) will be obtained before such works is carries out. In case of failure, the contractor will not be paid on this account. The successful tendered should reason the conduit in the wells before they are plastered and in collaboration with building work in progress. Any damage thus done will have to be made good at the cost electrically continuous.
12. The bakelite covers for the tumbler switches plug sockets etc shall be removed or broken for taking connections which shall be done at their back be providing suitable wooden rider in the I.C. boxes where found necessary. All I.C boxes for switches, plug and regulators etc. Shall be provided 1/8” thick bakelite sheet covers.
13. The runs of various circuit wiring at various places shall kept minimum by taking the runs on wall where crossing of columns is not necessary. This has to be decided before casting of slab so that unnecessary length of conduits are not laid therein.
14. All the I.C. distribution board, Sub-main board and their complete fitting shall be sign-written clearly indicating the No of distribution board, the type of load it is serving and the number of circuit contained in the distribution box shall be placed in a tabular form the reverse of the cover of the distribution box.
15. Underground cables both of 1.1KV and 1.1KV grade should be subjected to pressure/insulation tests before and after laying the same in the ducts. Incase of unsatisfactory test the cost of all replacement and extra work of removal and relaying well have to be made good by the contractor at his own risk.
16. While make the end connections of wires, no strand shall be cut and the termination of wires shall be done with necessary lugs and ferrules without any extra payment.
17. The bus bars of the single phase distributions box shall be strip instead of sheet metal.
18. The lugs should be provided while terminating 8 SWG G.I wire for earth continuity without any extra payment.
19. The contractor will have to make arrangement to take the material to site of work at his own risk. Octori, if paid by the contractor for the materials supplied by the department the same can be claimed by him against original voucher.
20. If any conduits laid before the award of this work, the recovery for the same will be made from the contractor at the rates specifications in the SR-94(internal)plus the enhancement of this tender. Or the rates quoted by the firm in the tender for the work.
21. The Department shall not supply any tools and plants unless otherwise specified.
NOTE: In addition to above the work should be carried out as per latest CPWD/ BSNL specification pertaining to the work, ammended up to date and as per the direction of the Engineer - In - Charge .

## (Blnk Schedule A) 33-34 (hidden)
(SCHEDULE-A)Schedule of work
Name of Work:
S.I.T.C. of 1 X 15 KVA DEA set in M.S. silent canopy with manual control panel for Sangriang under Meghalaya SSA (Sub Head:Provision of allied works of DG set).
S. No | SoR Item Description | Qty | Unit | Basic Unit Price excluding GST | GST | [5 empty] | All inclusive Unit cost | Amount of Input tax Credit (ITC ) to be availed by BSNL | Unit price excluding ITC amount (net unit cost to BSNL) | Total price inclusive of all levies and charges but excluding ITC (net total cost) | HSN for goods and SAC for services
[5 empty] | CGST |  | SGST |  | IGST
[5 empty] | % Rate | Amount | % Rate | Amount | % Rate | Amount
1 | 2 | 3 |  | 4 | 5 | 6=5x4 | 7 | 8=7x4 | 9 | 10=9x4 | 11=4+ [(6+ 8) or 10] | 12=(6+8) or 10 | 13=11-12 | 14=3x13 | 15
1 | Providing round the clock Operation of Package AC units, Electric panels . (Scope of work, maintenance schedule and various services are attached)
a. | Package AC 3x 7TR Plant
| Note : 1 no. semi-skilled and 2 no. unskilled staff to be made available at site. | 4 | Months
Grand Total
GSTR NO
Notes for bidder:
1 | The Firm should be GST Compliant
2 | Bidder must mandatorily quote for all GST components (CGST, SGST, IGST) as required
3 | Bidder must mandatorily mention HSN & SAC numbers
4 | The firm shall be responsible to ensure that GST shown in the above columns is correct & Input Tax Credit for the amount shown above is admissible as per GST Act as amended up to date”.
5 | Invoice /Bill should be pre-printed as per the GST format.
6 | The evaluation and comparison of responsive bids shall be done on the basis of Net cost to BSNL on the prices offered inclusive of packing, forwarding, freight and insurance charges etc., but excluding GST
7 | The rates for all items of work shall, unless clearly specified otherwise, include cost of all labour, materials and other inputs involved in the execution of the terms as specified in the scope of work.
8 | No advance payments can be made. Stipulations like levy of interest if payment is not made in a specified time are also not acceptable and the payment is governed by the normal BSNL practice.
Declaration by bidder
1 | We hereby declare that in quoting the above prices, we have taken into account the entire credit on inputs available under the GST Act introduced w.e.f. 1 July 2017 and further extended on more items till date”.
2 | “We hereby certify that HSN/ SAC shown in column 15 are correct & credit of GST for the amount shown in column 12 above are admissible as per GST Laws.
Signature of the Contractor with Seal | [11 empty] | Executive Engineer (E)
ANNEXURE - III
COMPLIANCE SHEET
I / We ........................................................................(Name of firm) have read/Understood all the terms and conditions as mentioned in bid Document and accept the same unconditionally
I / We state to comply in full manner with all the General, Commercial, Technical and Operating Financial conditions of the tender document for the work of “S.I.T.C. of 1 X 15 KVA DEA set in M.S. silent canopy with manual control panel for Sangriang under Meghalaya SSA (Sub Head:Provision of allied works of DG set).” without any reservation and deviation
It is certified that the Tender Document i/c all credentials has been submitted
(Seal of the firm) | [11 empty] | (Dated Signature of Contractor)

## Blank schedule
Schedule of Works
Name of Work : Repairing &servicing of split AC with allied works at NE I IB PanBazar Guwahati.
Sl. No. | Description of Items | Quantity |  | Rate (Rs.) | Unit | Amount (Rs.)
1 | Checking of AC units & providing general servicing of existing SAC i/c thorough cleaning of indoor & outdoor with soap water and then by fresh water i/c oiling & greasing the blower fan and condenser fan motor checking of all parts for its functioning testing etc complete as reqd. | 8 | job |  | job
2 | Providing ful gas charging with refregerant R22 in the existing WAC /SAC after analysing the leakage with pressure testing etc complete as reqd | 3 | jobs |  | jobs
3 | Providing topping of up of gas charging with refregerant R22 in the existing SAC and testing etc asreqd | 2 | Jobs |  | Jobs
4 | Supplying and fixing of rotary compressor suitable for 1.5 TR split AC i/c connection testing as reqd | 1 | Jobs |  | Jobs
5 | Supplying and fixing of followingelectrical accessories i/c connection testing etc as reqd
| a) Capacitor 45 MFD | 3 | nos |  | nos
| b) fan Capacitor 5 MFD | 3 | nos |  | nos
| c) fan Capacitor 2.5 MFD | 3 | nos |  | nos
| d) LED bulb7 watt | 10 | nos |  | nos
| e)flood light 50 watt | 1 | nos |  | nos
| f)LED tube 18 watt | 20 | nos |  | nos
| g) Remote hand set for AC | 3 | nos |  | nos
6 | Replacement of refregerator compresor complete with all accessories i/c fixing connextion testing etc complete as reqd model no D66 (make Whirlpool) | 1 | nos |  | nos
7 | Supplying and fixing of following refregerator accessories i/c connection testing etc as reqd
| a)Bye metal device | 1 | nos |  | nos
| b) Defrost heater ( Samsung) | 1 | nos |  | nos
7 | wiring for inverter line from 1st floor to dining hall with 2.5 sqmm copper wire etc complete asreqd | 50 | mtr |  | mtr
Total with GST
Notes for bidder:
1 | The Firm should be GST Compliant
2 | Bidder must mandatorily quote for all GST components (CGST, SGST, IGST) as required
3 | Bidder must mandatorily mention HSN & SAC numbers
4 | The firm shall be responsible to ensure that GST shown in the above columns is correct & Input Tax Credit for the amount shown above is admissible as per GST Act as amended up to date”.
5 | Invoice /Bill should be pre-printed as per the GST format.
6 | The evaluation and comparison of responsive bids shall be done on the basis of Net cost to BSNL on the prices offered inclusive of packing, forwarding, freight and insurance charges etc., but excluding GST
7 | The rates for all items of work shall, unless clearly specified otherwise, include cost of all labour, materials and other inputs involved in the execution of the terms as specified in the scope of work.
8 | No advance payments can be made. Stipulations like levy of interest if payment is not made in a specified time are also not acceptable and the payment is governed by the normal BSNL practice.
Declaration by bidder
1 | We hereby declare that in quoting the above prices, we have taken into account the entire credit on inputs available under the GST Act introduced w.e.f. 1 July 2017 and further extended on more items till date”.
EXECUTIVE ENGINEER(E), BSNL, ELECTRICAL DIVISION,
Signature of the Contractor with Seal |  | Shillong.
ANNEXURE - III (COMPLIANCE SHEET)
I / We ...................................................................................(Name of firm) have read/Understood all the terms and conditions as mentioned in bid Document and accept the same unconditionally.
I / We state to comply in full manner with all the General, Commercial, Technical and Operating Financial conditions of the tender document for the work of “ Repairing &servicing of split AC with allied works at NE I IB PanBazar Guwahati. .without any reservation and deviation.
It is certified that the Tender Document i/c all credentials has been submitted
(Seal of the firm) |  |  | (Dated Signature of Contractor)